## Introduction
Funding Gap Analysis Model Assumptions
for the Boston Funding Gap Analysis for Residential Decarbonization
Feb 2024
This spreadsheet documents all the underlying assumptions that went into the model for the Boston Funding Gap Analysis for Residential Decarbonization. To see the full Gap Analysis deliverable, please go to:
www.beicities.org/city-resources
About this Model:
This spreadsheet documents all the input assumptions and output results that went into Funding Gap Analysis model. We estimate all possible costs entailed with decarbonization, including electrification retrofits, basic energy efficiency upgrades, and "make ready" upgrades that are required to address health, safety, and electrical work that must be completed in advance of electrification. This analysis is based on detailed building stock data compiled by BEI to identify representative small residential typologies. Cost assumptions were estimated in partnership with New Ecology, Inc. based on their Boston projects, and reviewed by relevant stakeholders.
About the tabs in this model:
| Building Stock Data & Assumptions |  | Describes the different Boston residential building types analyzed in the model, with some basic building stock assumptions
| Installation Cost Assumptions |  | Lists the estimated costs per measure per unit. Note these were then applied across the building stock data to calculate average costs.
| Installation Cost Results |  | Summarizes average installation costs per unit and per building, as well as across the city's building stock.
| Gap Analysis Results |  | Includes funding gap breakdown by income category and by retrofit measure type.
Guide to formatting in the model:
| Black Text | Embedded calculations - Do not change
| Blue Text | Assumptions that have firm underlying data sources
| Green Text | Assumptions that do not have firm underlying data sources and that can be altered to test impact on results. Vetted with on-the-ground implementers for general accuracy.
PW: 2120

## Bldg Stock Data & Assumptions
Boston Building Typology Summary
| Building Typologies |  |  |  | DATA SOURCE | DATA SOURCE DESCRIPTION & NOTES
| Single Family | 2-4 Unit Homes (Including "Triple Deckers") | Low-Rise Multifamily (1-3 floors) | Mid-Rise Multifamily (4-6 floors)
Building Description
Median Number of Units | 1 | 3 | 13 | 16 | BEI 2020 Multifamily Housing Stock Analysis | BEI developed a building inventory that underpins the 2020 multifamily housing stock analysis (MHSA). Using this data, BEI developed building typologies to exemplify the most common small residential buildings in Boston, excluding mixed use buildings (which are not a significant portion of the Boston multifamily building stock). Multifamily buildings built after 1971 ar also excluded, given multifamily buildings built between 1970s-90s are much larger than rest of the typologies.
Total Number of Buildings | 30555 | 34195 | 2244 | 2660
% of Citywide Number of Residential Buildings | 43% | 48% | 3% | 4%
% of Citywide Number of All Buildings | 33% | 37% | 2% | 3%
Median square feet | 2690 | 4448 | 10023 | 13730
% of Citywide Built Sqare Footage | 23% | 46% | 7% | 11%
Median year built | 1925 | 1905 | 1917 | 1909
Percent subject to flooding risk | 8% |  |  |  | Climate Ready Boston report | Referenced an estimate of buildings at risk from stormwater flooding across Boston's building stock.
Building Characteristics
Estimate of Median Number of Floors | 2 | 3 | 3 | 5 | Updated from data in BEI 2020 Multifamily Housing Stock Analysis | Number of stories pulled from BEI 2020 MHSA for each typology. Floor area pulled from MHSA for each typology, square root taken to estimate perimeter (used for rim joist calculations). Roof assumptions from MHSA were updated based on New Ecology & City input.
Estimate of perimeter in linear feet | 207.4608 | 266.7733 | 400.4597 | 468.7003
Percent gabled roofs | 90% | 50% | 10% | 10%
Percent flat roofs | 10% | 50% | 90% | 90%
Demographics
Percent Low-income "LI" (<60% AMI or < $71,400) | 21% | 35% | 38% | 20% | Updated from data in BEI 2020 Multifamily Housing Stock Analysis | Parcel-level income data is not available, so this analysis used the median income of the census block group a building is located in, and assessed the percentage of each income level (as defined in agreement with City team) for each building typology. Further detail --> The BEI 2020 MHSA building inventory used GIS to map low-income census tract-level data (see slides 40-41) to the parcel-level building inventory. This created ability to pull number of buildings by typology and by respective income levels of census tract where a building is located. For this analysis, a similar methodology was used, but the census data was updated to 2020 ACS median income by census block group (more granular). Median income was categorized into AMI ranges agreed upon by the City, calculated based on 2020 income limits for a family of 4, and then converted to percentage by building typology. Note uncategorized block groups were assumed to be market rate.
Percent Moderate-income "MI" (60 - 80% AMI or $71,400 = $95,200) | 18% | 19% | 20% | 17%
Percent Market-rate "MR" (>80% AMI, includes unspecified census tracts) | 61% | 46% | 42% | 63% |  | 2020 Income Limits
Retrofit Applicability Summary
Modeled Income Level
| Low-Income | Moderate-Income | Market Rate
Make Ready Costs |  |  |  |  | Assumption ranges developed for analysis | Assumptions developed by analysis team and based on qualitative feedback heard across different markets, with reasonable ranges created to test impact of different possible scenarios. Final assumptions vetted with partners, including New Ecology with significant expertise in Boston retrofit market.
Percent that need panel upgrade | 65-100% | 50-95% | 25-70%
Percent that need 100% knob-and-tube wiring replacement | 20-30% | 15-25% | 0%
Percent that need 50% knob-and-tube wiring replacement | 10-20% | 5-15% | 5-15%
Percent that need 10% knob-and-tube wiring replacement | 0% | 5% | 5-25%
Health & Safety Costs
Percent that need basic health & safety upgrades | 90-100% | 50% | 0-30%
Percent that need ventilation upgrades | 90-100% | 85% | 70-90%
Percent that need structural / resilience upgrades | 10-15% | 7% | 0-8%

## Installation Cost Assumptions
Gross Cost Assumptions by Building Typology
Retrofit Measure Type | Specific Equipment or Measure | Building Typologies
|  | Single Family | 2-4 Unit Homes (Including "Triple Deckers") | Low-Rise Multifamily (1-3 floors) | Mid-Rise Multifamily (4-6 floors) | Notes
Soft Costs | Central System Sizing, Measured | n/a | n/a | $4,000 / bldg
| Zero Over Time Audit | n/a | n/a | $12,000 / bldg |  | Assumed audit with goal to identify measures to get to Net Zero. More than Mass Save "Building Assessment" (focused on measures with incentives); more than BERDO requirements, but slightly less than ASHRAE Level 2 Audit.
| Construction Management | $2,000 - $3,000 / bldg | $3,000 - $5,000 / bldg | $7,000 / bldg |  | Technical support & AQ needed to manage comprehensive project with multiple systems; need a set sequence to optimize envelope, then equipment.
Soft Cost Assumptions |  | Based on low-income household retrofits managed by Mass Save and/or LEAN contractor. Contractor noted 1-4 unit households would need additional support managing full-fledged decarbonization project. Note LEAN program could cover these soft costs for 1-4 unit buildings. |  | Contractors noted installation and operational costs can be reduced through careful equipment sizing, comprehensive scoping with plan to implement over time, and design/build type engagement.
Electrification Retrofit | HVAC - to ASHP | $24,000 / unit |  | $20,000 / unit |  | Assumed costs that are in between a central HP and minisplits, to account for many buildings not having duct work; Assumed use of existing air source heat technology.
| Heat Pump Water Heater (HPWH) | $3,761 / unit | $6,230 / unit | $6,230 / unit
| Electric stove | $3,650 / unit |  | $3,650 / unit
| Electric dryer | $2,865 / unit |  | n/a | n/a | Laundry is very often under contract to third party and is therefore excluded for multifamily buildings.
Electrification Retrofit Assumptions and Data Sources |  | Four indoor units (IU) assumed; $6k/IU pricing derived from 2022 EE program projects. | $5k/IU; In-unit laundry assumed | $6,230/bldg estimate for multifamily HPWH assumes central system and is conservative price for a CO2 Watts sytem, basis of design.
Basic Energy Efficiency | Basic EE program package | $5,800 / bldg | $3,670 / unit | $3,670 / unit |  | Basic EE package from Mass Save assumed here: Aerators, air sealing, base insulation, pipe wrap, duct insulation (SFH), WiFi thermostat (based on Mass Save Program data 2021)
| Insulate roofs to R50 (gabled roofs) | $2.53 / sq ft |  |  |  | Roof insulation upgrades to R50 (assume adding 8 inches of cellulose) for gabled roofs only
| Insulate roofs to R50 (flat roofs) | $21.50 / sq ft |  |  |  | Unvented roof insulation to R50; white membrane; for flat roofs only
| Insulate Rim Joists | $4.75 / sq ft |  |  |  | Insulate rim joists between floors and critical junctures
| Insulate Basement Walls | $48.50 / sq ft |  |  |  | Fire safe; 2"Thermal Barrier Polyiso covering 10' square feet (1' wide x 10' tall)
| Air sealing | $1.80 / sq ft |  |  |  | Basement & attic planes
| Remove chimney & repurpose vent | $3,225 / bldg | $3,225 / bldg | $6,400 / bldg | $7,850 / bldg | Remove chimneys no longer in use above roof line and repurpose for VRF lineset and kitchen exhaust (add additional 10% cost for gabled roofs)
Basic Energy Efficiency Data Sources |  | Aug-Sept 2022 Boston area contractor estimates; exterior or interior wall insulation assumed cost prohibitive; historic chimneys must remain. Square footage costs applied to citywide typologies and averaged for per unit costs. Included additional EE measures on top of basic EE package to bring down size of electrified equipment and appliances.
Electrification Make Ready Measures | Electricity Panel Upgrade | $6,580 / unit
| Knob and Tube Upgrades Cost for 100% of entire building | $25,000 / bldg | $15,000 / unit | $15,000 / unit
Data source on Electric Make Ready costs |  | Aug-Sept 2022 Boston area contractor estimates
Health and Safety (H&S) Upgrades | Basic H&S - radon, lead, asbestos | $3,500 / unit
| Ventilation upgrades | $18,000 / bldg | $14,500 / unit |  |  | Ventilation upgrades needed once building envelope is much tighter due to air sealing and insulation.
| Structural upgrades | $30,000 / bldg | $30,000 / unit | $12,500 / unit |  | Assumed certain buildings need to move equipment to roof from basement due to near- to medium-term flooding risks (across all building typologies) based on Climate Ready Boston assessments. Also includes other structural repairs.
Data source on Health & Safety upgrades |  | Assumes individual in-unit ERVs, basis of design is Minotair Pentacare V-9, 12 or 18, or Epoch which also bring heat pump tempering for dehumidification; structural upgrades costs do not include resiliency measures or solar readiness

## JD- EE LIMF Measures Summary (hidden)
2021 Gas Measures Summary Report
2021 Plan Data Report (as of October 21, 2019) Fuel : Gas; PA : Eversource Gas, National Grid Gas; Year : 2021
*Data on the Measure Details tab will not match data on the Performance Details tab because the measure level data does not include all possible measures/values (e.g., carryover, measures with no BCR ID) that are captured in the data included in Performance Details.
PA | Reporting Period | Sector | Program | Initiative | Measure | Quantity | Incentive ($) | Annual Electric Savings (MWh) | Lifetime Electric Savings (MWh) | Annual Gas Savings (Therms) | Lifetime Gas Savings (Therms) | Total Benefits ($)
Eversource Gas | Planned | Income Eligible | Income Eligible Existing Buildings | Income Eligible Coordinated Delivery | Air Sealing, Gas (Multifamily) | 750 | 375000 | 0 | 0 | 25987.5 | 389812.5 | 1481417.958 | 500 | air sealing/unit | MF gas
Eversource Gas | Planned | Income Eligible | Income Eligible Existing Buildings | Income Eligible Coordinated Delivery | Air Sealing, Gas (Single Family) | 400 | 400000 | 0 | 0 | 42000 | 630000 | 2740153.53 | 1000 | air sealing/building | SF gas
Eversource Gas | Planned | Income Eligible | Income Eligible Existing Buildings | Income Eligible Coordinated Delivery | Boiler Reset Control, Gas (Multifamily) | 0 | 0 | 0 | 0 | 0 | 0 | 0
Eversource Gas | Planned | Income Eligible | Income Eligible Existing Buildings | Income Eligible Coordinated Delivery | Boiler Reset Control, Gas (Single Family) | 0 | 0 | 0 | 0 | 0 | 0 | 0
Eversource Gas | Planned | Income Eligible | Income Eligible Existing Buildings | Income Eligible Coordinated Delivery | Demand Circulator (Multifamily) | 0 | 0 | 0 | 0 | 0 | 0 | 0
Eversource Gas | Planned | Income Eligible | Income Eligible Existing Buildings | Income Eligible Coordinated Delivery | Duct Insulation, Gas (Multifamily) | 0 | 0 | 0 | 0 | 0 | 0 | 0
Eversource Gas | Planned | Income Eligible | Income Eligible Existing Buildings | Income Eligible Coordinated Delivery | Duct Insulation, Gas (Single Family) | 30 | 9750 | 0 | 0 | 1650 | 33000 | 52337.982 | 325 | SF duct insulation | MF gas
Eversource Gas | Planned | Income Eligible | Income Eligible Existing Buildings | Income Eligible Coordinated Delivery | Duct Sealing, Gas (Multifamily) | 0 | 0 | 0 | 0 | 0 | 0 | 0
Eversource Gas | Planned | Income Eligible | Income Eligible Existing Buildings | Income Eligible Coordinated Delivery | Duct Sealing, Gas (Single Family) | 60 | 15000 | 0 | 0 | 1980 | 39600 | 69925.795 | 250 | SF duct sealing | MF gas
Eversource Gas | Planned | Income Eligible | Income Eligible Existing Buildings | Income Eligible Coordinated Delivery | Faucet Aerator (Multifamily) | 25 | 125 | 0 | 0 | 75 | 525 | 2928.718 | 5 | aerator | MF gas
Eversource Gas | Planned | Income Eligible | Income Eligible Existing Buildings | Income Eligible Coordinated Delivery | Faucet Aerator, Gas (Single Family) | 20 | 100 | 0 | 0 | 40 | 280 | 1188.498 | 5 | aerator | SF gas
Eversource Gas | Planned | Income Eligible | Income Eligible Existing Buildings | Income Eligible Coordinated Delivery | Heating System Retrofit, Boiler, Gas (Multifamily) | 1100 | 2750000 | 0 | 0 | 165165 | 3303300 | 7721552.906
Eversource Gas | Planned | Income Eligible | Income Eligible Existing Buildings | Income Eligible Coordinated Delivery | Heating System Retrofit, Boiler, Gas (Single Family) | 215 | 1128750 | 0 | 0 | 41710 | 834200 | 2600060.879
Eversource Gas | Planned | Income Eligible | Income Eligible Existing Buildings | Income Eligible Coordinated Delivery | Heating System Retrofit, Furnace, Gas (Multifamily) | 0 | 0 | 0 | 0 | 0 | 0 | 0
Eversource Gas | Planned | Income Eligible | Income Eligible Existing Buildings | Income Eligible Coordinated Delivery | Heating System Retrofit, Furnace, Gas (Single Family) | 100 | 525000 | 17.2 | 309.6 | 20700 | 372600 | 1169422.164
Eversource Gas | Planned | Income Eligible | Income Eligible Existing Buildings | Income Eligible Coordinated Delivery | Heating System, Commercial Boiler (Multifamily) | 0 | 0 | 0 | 0 | 0 | 0 | 0
Eversource Gas | Planned | Income Eligible | Income Eligible Existing Buildings | Income Eligible Coordinated Delivery | Indirect Water Heater, Gas (Multifamily) | 500 | 450000 | 0 | 0 | 26775 | 535500 | 769937.31
Eversource Gas | Planned | Income Eligible | Income Eligible Existing Buildings | Income Eligible Coordinated Delivery | Insulation, Gas (Multifamily) | 750 | 937500 | 16.5 | 412.5 | 65362.5 | 1634062.5 | 4451884.043 | 1250 | insulation/unit | MF gas
Eversource Gas | Planned | Income Eligible | Income Eligible Existing Buildings | Income Eligible Coordinated Delivery | Insulation, Gas (Single Family) | 430 | 1827500 | 147.92 | 3698 | 67940 | 1698500 | 6411522.479 | 4250 | insulation/building | SF gas
Eversource Gas | Planned | Income Eligible | Income Eligible Existing Buildings | Income Eligible Coordinated Delivery | Low-Flow Showerhead with TSV, Gas (Multifamily) | 0 | 0 | 0 | 0 | 0 | 0 | 0
Eversource Gas | Planned | Income Eligible | Income Eligible Existing Buildings | Income Eligible Coordinated Delivery | Low-Flow Showerhead, Gas (Multifamily) | 25 | 250 | 0 | 0 | 267.5 | 1872.5 | 7998.789
Eversource Gas | Planned | Income Eligible | Income Eligible Existing Buildings | Income Eligible Coordinated Delivery | Low-Flow Showerhead, Gas (Single Family) | 20 | 200 | 0 | 0 | 180 | 1260 | 7457.236
Eversource Gas | Planned | Income Eligible | Income Eligible Existing Buildings | Income Eligible Coordinated Delivery | On Demand Water Heater, Gas (Multifamily) | 5 | 20000 | 0 | 0 | 1202.25 | 24045 | 34174.853
Eversource Gas | Planned | Income Eligible | Income Eligible Existing Buildings | Income Eligible Coordinated Delivery | Participant/TLC Kit, Gas | 3480 | 0 | 0 | 0 | 0 | 0 | 132454.338
Eversource Gas | Planned | Income Eligible | Income Eligible Existing Buildings | Income Eligible Coordinated Delivery | Pipe Wrap (Heating), Gas (Multifamily) | 500 | 125000 | 0 | 0 | 2100 | 31500 | 99331.439 | 250 | Heating pipe insul | MF gas
Eversource Gas | Planned | Income Eligible | Income Eligible Existing Buildings | Income Eligible Coordinated Delivery | Pipe Wrap (Water Heating), Gas (Multifamily) | 200 | 50000 | 0 | 0 | 840 | 12600 | 37377.378 | 250 | WHtr pipe insul | MF gas
Eversource Gas | Planned | Income Eligible | Income Eligible Existing Buildings | Income Eligible Coordinated Delivery | Pipe Wrap (Water Heating), Gas (Single Family) | 110 | 27500 | 0 | 0 | 440 | 6600 | 87575.072 | 250 | WHtr pipe insul | SF gas
Eversource Gas | Planned | Income Eligible | Income Eligible Existing Buildings | Income Eligible Coordinated Delivery | Programmable Thermostat, Gas (Multifamily) | 0 | 0 | 0 | 0 | 0 | 0 | 0
Eversource Gas | Planned | Income Eligible | Income Eligible Existing Buildings | Income Eligible Coordinated Delivery | Programmable Thermostat, Gas (Single Family) | 10 | 1300 | 0 | 0 | 310 | 4650 | 14045.988 | 130 | prog tstat | SF gas
Eversource Gas | Planned | Income Eligible | Income Eligible Existing Buildings | Income Eligible Coordinated Delivery | Stand Alone Water Heater, Gas (Multifamily) | 0 | 0 | 0 | 0 | 0 | 0 | 0
Eversource Gas | Planned | Income Eligible | Income Eligible Existing Buildings | Income Eligible Coordinated Delivery | Thermostatic Shut-off Valve, Gas (Multifamily) | 0 | 0 | 0 | 0 | 0 | 0 | 0
Eversource Gas | Planned | Income Eligible | Income Eligible Existing Buildings | Income Eligible Coordinated Delivery | Weatherization (Single Family) | 0 | 0 | 0 | 0 | 0 | 0 | 0
Eversource Gas | Planned | Income Eligible | Income Eligible Existing Buildings | Income Eligible Coordinated Delivery | Wi-Fi Thermostat, Gas (Multifamily) | 125 | 37500 | 2.25 | 33.75 | 3887.5 | 58312.5 | 134055.819 | 300 | WiFi tstat | MF gas
Eversource Gas | Planned | Income Eligible | Income Eligible Existing Buildings | Income Eligible Coordinated Delivery | Wi-Fi Thermostat, Gas (Single Family) | 10 | 3000 | 0.18 | 2.7 | 311 | 4665 | 14857.081 | 300 | WiFi tstat | SF gas
National Grid Gas | Planned | Income Eligible | Income Eligible Existing Buildings | Income Eligible Coordinated Delivery | Air Sealing, Gas (Multifamily) | 5500 | 693000 | 0 | 0 | 272250 | 4083750 | 12963616.362 | 126 | XX
National Grid Gas | Planned | Income Eligible | Income Eligible Existing Buildings | Income Eligible Coordinated Delivery | Air Sealing, Gas (Single Family) | 0 | 0 | 0 | 0 | 0 | 0 | 0
National Grid Gas | Planned | Income Eligible | Income Eligible Existing Buildings | Income Eligible Coordinated Delivery | Boiler Reset Control, Gas (Multifamily) | 0 | 0 | 0 | 0 | 0 | 0 | 0
National Grid Gas | Planned | Income Eligible | Income Eligible Existing Buildings | Income Eligible Coordinated Delivery | Boiler Reset Control, Gas (Single Family) | 0 | 0 | 0 | 0 | 0 | 0 | 0
National Grid Gas | Planned | Income Eligible | Income Eligible Existing Buildings | Income Eligible Coordinated Delivery | Demand Circulator (Multifamily) | 0 | 0 | 0 | 0 | 0 | 0 | 0
National Grid Gas | Planned | Income Eligible | Income Eligible Existing Buildings | Income Eligible Coordinated Delivery | Duct Insulation, Gas (Multifamily) | 145 | 11165 | 0 | 0 | 28601.25 | 572025 | 921059.233 | 77 | MF duct insulation/unit | MF gas
National Grid Gas | Planned | Income Eligible | Income Eligible Existing Buildings | Income Eligible Coordinated Delivery | Duct Insulation, Gas (Single Family) | 0 | 0 | 0 | 0 | 0 | 0 | 0
National Grid Gas | Planned | Income Eligible | Income Eligible Existing Buildings | Income Eligible Coordinated Delivery | Duct Sealing, Gas (Multifamily) | 0 | 0 | 0 | 0 | 0 | 0 | 0
National Grid Gas | Planned | Income Eligible | Income Eligible Existing Buildings | Income Eligible Coordinated Delivery | Duct Sealing, Gas (Single Family) | 0 | 0 | 0 | 0 | 0 | 0 | 0
National Grid Gas | Planned | Income Eligible | Income Eligible Existing Buildings | Income Eligible Coordinated Delivery | Faucet Aerator (Multifamily) | 1100 | 12100 | 0 | 0 | 3300 | 23100 | 129438.719 | 11 | aerator | MF gas
National Grid Gas | Planned | Income Eligible | Income Eligible Existing Buildings | Income Eligible Coordinated Delivery | Faucet Aerator, Gas (Single Family) | 0 | 0 | 0 | 0 | 0 | 0 | 0
National Grid Gas | Planned | Income Eligible | Income Eligible Existing Buildings | Income Eligible Coordinated Delivery | Heating System Retrofit, Boiler, Gas (Multifamily) | 433 | 8898583 | 0 | 0 | 281532.319 | 5630646.388 | 10043525.498
National Grid Gas | Planned | Income Eligible | Income Eligible Existing Buildings | Income Eligible Coordinated Delivery | Heating System Retrofit, Boiler, Gas (Single Family) | 450 | 2362500 | 0 | 0 | 87300 | 1746000 | 5484194.945
National Grid Gas | Planned | Income Eligible | Income Eligible Existing Buildings | Income Eligible Coordinated Delivery | Heating System Retrofit, Furnace, Gas (Multifamily) | 15 | 135000 | 0 | 0 | 9752.852 | 175551.331 | 316126.96
National Grid Gas | Planned | Income Eligible | Income Eligible Existing Buildings | Income Eligible Coordinated Delivery | Heating System Retrofit, Furnace, Gas (Single Family) | 235 | 1233750 | 40.42 | 727.56 | 48645 | 875610 | 2769404.657
National Grid Gas | Planned | Income Eligible | Income Eligible Existing Buildings | Income Eligible Coordinated Delivery | Heating System, Commercial Boiler (Multifamily) | 0 | 0 | 0 | 0 | 0 | 0 | 0
National Grid Gas | Planned | Income Eligible | Income Eligible Existing Buildings | Income Eligible Coordinated Delivery | Indirect Water Heater, Gas (Multifamily) | 190 | 1878530 | 0 | 0 | 68642.25 | 1372845 | 1982222.631
National Grid Gas | Planned | Income Eligible | Income Eligible Existing Buildings | Income Eligible Coordinated Delivery | Insulation, Gas (Multifamily) | 2000 | 2190000 | 44 | 1100 | 67500 | 1687500 | 7762073.652 | 1095 | insulation/unit | MF gas
National Grid Gas | Planned | Income Eligible | Income Eligible Existing Buildings | Income Eligible Coordinated Delivery | Insulation, Gas (Single Family) | 0 | 0 | 0 | 0 | 0 | 0 | 0
National Grid Gas | Planned | Income Eligible | Income Eligible Existing Buildings | Income Eligible Coordinated Delivery | Low-Flow Showerhead with TSV, Gas (Multifamily) | 70 | 1400 | 0 | 0 | 1162 | 8134 | 34747.085
National Grid Gas | Planned | Income Eligible | Income Eligible Existing Buildings | Income Eligible Coordinated Delivery | Low-Flow Showerhead, Gas (Multifamily) | 180 | 3600 | 0 | 0 | 1926 | 13482 | 57926.955
National Grid Gas | Planned | Income Eligible | Income Eligible Existing Buildings | Income Eligible Coordinated Delivery | Low-Flow Showerhead, Gas (Single Family) | 0 | 0 | 0 | 0 | 0 | 0 | 0
National Grid Gas | Planned | Income Eligible | Income Eligible Existing Buildings | Income Eligible Coordinated Delivery | On Demand Water Heater, Gas (Multifamily) | 60 | 1200000 | 0 | 0 | 44680.5 | 893610 | 1288817.101
National Grid Gas | Planned | Income Eligible | Income Eligible Existing Buildings | Income Eligible Coordinated Delivery | Participant/TLC Kit, Gas | 0 | 0 | 0 | 0 | 0 | 0 | 0
National Grid Gas | Planned | Income Eligible | Income Eligible Existing Buildings | Income Eligible Coordinated Delivery | Pipe Wrap (Heating), Gas (Multifamily) | 750 | 4125 | 0 | 0 | 8550 | 128250 | 284366.895 | 5.5 | Heating pipe insul | MF gas
National Grid Gas | Planned | Income Eligible | Income Eligible Existing Buildings | Income Eligible Coordinated Delivery | Pipe Wrap (Water Heating), Gas (Multifamily) | 300 | 900 | 0 | 0 | 9546.269 | 143194.036 | 239246.485 | 3 | WHtr pipe insul | MF gas
National Grid Gas | Planned | Income Eligible | Income Eligible Existing Buildings | Income Eligible Coordinated Delivery | Pipe Wrap (Water Heating), Gas (Single Family) | 0 | 0 | 0 | 0 | 0 | 0 | 0
National Grid Gas | Planned | Income Eligible | Income Eligible Existing Buildings | Income Eligible Coordinated Delivery | Programmable Thermostat, Gas (Multifamily) | 25 | 3250 | 0 | 0 | 565 | 8475 | 19848.193 | 130 | prog tstat | MF gas
National Grid Gas | Planned | Income Eligible | Income Eligible Existing Buildings | Income Eligible Coordinated Delivery | Programmable Thermostat, Gas (Single Family) | 0 | 0 | 0 | 0 | 0 | 0 | 0
National Grid Gas | Planned | Income Eligible | Income Eligible Existing Buildings | Income Eligible Coordinated Delivery | Stand Alone Water Heater, Gas (Multifamily) | 0 | 0 | 0 | 0 | 0 | 0 | 0
National Grid Gas | Planned | Income Eligible | Income Eligible Existing Buildings | Income Eligible Coordinated Delivery | Thermostatic Shut-off Valve, Gas (Multifamily) | 0 | 0 | 0 | 0 | 0 | 0 | 0
National Grid Gas | Planned | Income Eligible | Income Eligible Existing Buildings | Income Eligible Coordinated Delivery | Weatherization (Single Family) | 1250 | 6562500 | 430 | 8600 | 328750 | 6575000 | 26438727.049 | 5250 | WZN | SF gas
National Grid Gas | Planned | Income Eligible | Income Eligible Existing Buildings | Income Eligible Coordinated Delivery | Wi-Fi Thermostat, Gas (Multifamily) | 0 | 0 | 0 | 0 | 0 | 0 | 0
National Grid Gas | Planned | Income Eligible | Income Eligible Existing Buildings | Income Eligible Coordinated Delivery | Wi-Fi Thermostat, Gas (Single Family) | 0 | 0 | 0 | 0 | 0 | 0 | 0
[13 empty] | 5800 | TOTAL | SF gas
[13 empty] | 3669.5 | TOTAL/Unit | MF gas

## Installation Cost Results
AVERAGE INSTALLATION COST PER UNIT (BEFORE INCENTIVES), by Typology & Income
($, rounded to nearest 1,000)
| Single Family |  | 2-4 Unit Homes |  | Low-Rise Multifamily (1-3 Floors) |  | Mid-Rise Multifamily (4-6 Floors)
| Low Case | Base Case | Low Case | Base Case | Low Case | Base Case | Low Case | Base Case
Low Income | 90000 | 107000 | 68000 | 80000 | 63000 | 74000 | 61000 | 72000
Moderate Income | 78000 | 105000 | 60000 | 78000 | 56000 | 73000 | 54000 | 71000
Market | 84000 | 96000 | 65000 | 73000 | 61000 | 67000 | 57000 | 66000
RANGE | 78000 | 107000 | 60000 | 80000 | 56000 | 74000 | 54000 | 72000
Overall typology average | 95000 | 100000 | 72000 | 76000 | 66000 | 71000 | 65000 | 68000
AVERAGE INSTALLATION COST PER BUILDING (BEFORE INCENTIVES), by Typology & Income
($, rounded to nearest 1,000)
Note: Per unit and per building costs were averaged across citywide building typologies with varying levels of need. See "Cost Assumptions" for further detail.
| Single Family |  | 2-4 Unit Homes |  | Low-Rise Multifamily (1-3 Floors) |  | Mid-Rise Multifamily (4-6 Floors)
| Low Case | Base Case | Low Case | Base Case | Low Case | Base Case | Low Case | Base Case
Low Income | 90000 | 107000 | 203000 | 240000 | 822000 | 961000 | 982000 | 1154000
Moderate Income | 78000 | 105000 | 179000 | 235000 | 725000 | 943000 | 862000 | 1131000
Market | 84000 | 96000 | 196000 | 218000 | 798000 | 877000 | 917000 | 1049000
RANGE | 78000 | 107000 | 179000 | 240000 | 725000 | 961000 | 862000 | 1154000
Overall typology average | 95000 | 100000 | 215000 | 229000 | 864000 | 922000 | 1034000 | 1082000
TOTAL CITYWIDE INSTALLATION COSTS (BEFORE INCENTIVES), by Typology & Retrofit Measure Type
($ billion)
| Single Family |  | 2-4 Unit Homes |  | Low-Rise Multifamily (1-3 Floors) |  | Mid-Rise Multifamily (4-6 Floors) |  | Total Installation Costs |  | Percent of Total Cost
| Low Case | Base Case | Low Case | Base Case | Low Case | Base Case | Low Case | Base Case | Low Case | Base Case | Low Case | Base Case
Soft Costs | 0.06111 | 0.091665 | 0.10258 | 0.17097 | 0.051612 | 0.051612 | 0.06118 | 0.06118 | 0.27649 | 0.37543 | 2.051% | 2.376%
Electrification | 1.0473 | 1.0473 | 3.1059 | 3.1059 | 0.87166 | 0.87166 | 1.2717 | 1.2717 | 6.2965 | 6.2965 | 46.7% | 39.85%
Energy Efficiency | 0.75448 | 0.75448 | 1.5439 | 1.5439 | 0.31661 | 0.31661 | 0.39344 | 0.39344 | 3.0084 | 3.0084 | 22.31% | 19.04%
Make Ready | 0.20529 | 0.48404 | 0.60076 | 1.2448 | 0.1769 | 0.35751 | 0.20997 | 0.49286 | 1.1929 | 2.5792 | 8.847% | 16.32%
Health & Safety | 0.48358 | 0.67085 | 1.3508 | 1.7428 | 0.37283 | 0.46782 | 0.50197 | 0.65853 | 2.7092 | 3.54 | 20.09% | 22.41%
Total | 2.5518 | 3.0483 | 6.7039 | 7.8084 | 1.7896 | 2.0652 | 2.4383 | 2.8777 | 13.4835 | 15.7996
% of total cost | 18.93% | 19.29% | 49.72% | 49.42% | 13.27% | 13.07% | 18.08% | 18.21%
TOTAL CITYWIDE INSTALLATION COSTS (BEFORE INCENTIVES), by Typology & Income
($ billion)
| Single Family |  | 2-4 Unit Homes |  | Low-Rise Multifamily (1-3 Floors) |  | Mid-Rise Multifamily (4-6 Floors) |  | Total Installation Costs |  | Percent of Total Cost
| Low Case | Base Case | Low Case | Base Case | Low Case | Base Case | Low Case | Base Case | Low Case | Base Case | Low Case | Base Case
Low Income | 0.61018 | 0.68688 | 2.5687 | 2.8717 | 0.73698 | 0.81988 | 0.55025 | 0.614 | 4.4661 | 4.9925 | 33.12% | 31.54%
Moderate Income | 0.49311 | 0.57485 | 1.3217 | 1.5277 | 0.36899 | 0.42318 | 0.44395 | 0.51148 | 2.6278 | 3.0372 | 19.49% | 19.19%
Market | 1.4485 | 1.7935 | 2.8134 | 3.4236 | 0.68364 | 0.82653 | 1.4441 | 1.7577 | 6.3896 | 7.8012 | 47.39% | 49.28%
Total | 2.5518 | 3.0552 | 6.7039 | 7.823 | 1.7896 | 2.0696 | 2.4383 | 2.8831 | 13.4835 | 15.8309
% of total cost | 18.93% | 19.34% | 49.72% | 49.51% | 13.27% | 13.1% | 18.08% | 18.25%

## Ph 3 - Gap SFH (hidden)
Mapping of costs for Single Family Homes
Soft costs
Specific measures | Low Income | [5 empty] | Moderate Income | [5 empty] | Market Rate
| Upfront Costs | Incentives |  |  |  | Gap | Upfront Costs | Incentives |  |  |  | Gap | Upfront Costs | Incentives |  |  |  | Gap
|  | Mass Save | IRA HEEHR | IRA HOME | Total |  |  | Mass Save | IRA HEEHR | IRA HOME | Total |  |  | Mass Save | IRA HEEHR | IRA HOME | Total
Central system sizing | n/a | [5 empty] | 0 | [5 empty] | 0
Zero over time audit | n/a | [5 empty] | 0 | [5 empty] | 0
Construction management | $2,000 - $3,000 / bldg |  |  |  | 0 |  | $2,000 - $3,000 / bldg | [5 empty] | $2,000 - $3,000 / bldg
Total | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Check | #REF! | [5 empty] | #REF! | [5 empty] | #REF!
Electrification costs | [18 empty] | Notes
Specific measures | Low Income | [5 empty] | Moderate Income | [5 empty] | Market Rate | [5 empty] | Assume Market rate above 150% of AMI to align with IRA
| Costs | Incentives |  |  |  | Gap | Costs | Incentives |  |  |  | Gap | Costs | Incentives |  |  |  | Gap | Assume that federal LIHEAP and WAP flow through Mass Save
|  | Mass Save | IRA HEEHR | IRA HOME | Total |  |  | Mass Save | IRA HEEHR | IRA HOME | Total |  |  | Mass Save | IRA HEEHR | IRA HOME | Total |  | Assume moderate income gets full rebate as 50% of total costs exceed rebate amount
Caps |  |  | 14000 | [5 empty] | 14000 | [5 empty] | 14000
HVAC - to ASHP | $24,000 / unit | #VALUE! | 2469 | 0 | #VALUE! | #VALUE! | $24,000 / unit | 16000 | 3179 |  | 19179 | #VALUE! | $24,000 / unit | 10000 | 0 |  | 10000 | #VALUE! | Assume replacing oil or propane, which is what triggers full Mass Save funding; otherwise not funded
HPWH | $3,761 / unit | #VALUE! | 1750 | 0 | #VALUE! | #VALUE! | $3,761 / unit | 750 | 1750 |  | 2500 | #VALUE! | $3,761 / unit | 750 | 0 |  | 750 | #VALUE! | Assume replacing oil or propane, which is what triggers full Mass Save funding
Electric stove | $3,650 / unit | 500 | 840 | 0 | 1340 | #VALUE! | $3,650 / unit | 500 | 840 |  | 1340 | #VALUE! | $3,650 / unit | 500 | 0 |  | 500 | #VALUE!
Electric dryer | $2,865 / unit | 50 | 840 | 0 | 890 | #VALUE! | $2,865 / unit | 50 | 840 |  | 890 | #VALUE! | $2,865 / unit | 50 | 0 |  | 50 | #VALUE!
Total | 0 | #VALUE! | 5899 | 0 | #VALUE! | #VALUE! | 0 | 17300 | 6609 | 0 | 23909 | #VALUE! | 0 | 11300 | 0 | 0 | 11300 | #VALUE!
Check | #REF! |  |  |  |  | #VALUE! | #REF! |  |  |  |  | -23909 | #REF! |  |  |  |  | -11300
Energy Efficiency costs
Specific measures | Low Income | [5 empty] | Moderate Income | [5 empty] | Market Rate
| Costs | Incentives |  |  |  | Gap | Costs | Incentives |  |  |  | Gap | Costs | Incentives |  |  |  | Gap
|  | Mass Save | IRA HEEHR | IRA HOME | Total |  |  | Mass Save | IRA HEEHR | IRA HOME | Total |  |  | Mass Save | IRA HEEHR | IRA HOME | Total
Cap |  |  |  | 8000 | [5 empty] | 4000 | [5 empty] | 4000 |  |  | Note that states are allowed to impose lower caps or more stringent requirements
Assuming that our retrofits hit 35% energy savings to achieve full cap
Basic EE package | $5,800 / bldg | $5,800 / bldg | 0 | incentive is for aggregate savings | 0 |  | $5,800 / bldg | 4000 | 0 | incentive is for aggregate savings | 4000 |  | $5,800 / bldg | 3750 | 0 | incentive is for aggregate savings | 3750 |  | Average cost of $5000 for 1-4 units based in input from LEAN
Roof insulation upgrades | #REF! | 0 | 1600 |  | 1600 |  | #REF! | 0 | 1600 |  | 1600 |  | #REF! | 0 | 0 |  | 0 |  | $1600 is for insulation and air sealing, plus ventilation
Insulate rim joists | $4.75 / sq ft | 0 |  |  | 0 |  | $4.75 / sq ft | 0 | 0 |  | 0 |  | $4.75 / sq ft | 0 | 0 |  | 0
Insulate basement walls | $48.50 / sq ft | 0 |  |  | 0 |  | $48.50 / sq ft | 0 | 0 |  | 0 |  | $48.50 / sq ft | 0 | 0 |  | 0
Air sealing | $1.80 / sq ft | 0 |  |  | 0 |  | $1.80 / sq ft | 0 | 0 |  | 0 |  | $1.80 / sq ft | 0 | 0 |  | 0
Remove chimney | #REF! | 0 |  |  | 0 |  | #REF! | 0 | 0 |  | 0 |  | #REF! | 0 | 0 |  | 0
Total | #REF! | 0 | 1600 | 8000 | 9600 | #REF! | #REF! | 4000 | 1600 | 4000 | 9600 | #REF! | #REF! | 3750 | 0 | 4000 | 7750 | #REF!
Check | #REF! |  |  |  |  | #REF! | #REF! |  |  |  |  | #REF! | #REF! |  |  |  |  | #REF!
Make Ready costs
Specific measures | Low Income | [5 empty] | Moderate Income | [5 empty] | Market Rate
| Costs | Incentives |  |  |  | Gap | Costs | Incentives |  |  |  | Gap | Costs | Incentives |  |  |  | Gap
|  | Mass Save | IRA HEEHR | IRA HOME | Total |  |  | Mass Save | IRA HEEHR | IRA HOME | Total |  |  | Mass Save | IRA HEEHR | IRA HOME | Total
Cap (electrification program) |  |  | 14000 | [5 empty] | 14000 | [5 empty] | 14000
Electric Panel Upgrade | #REF! | #REF! | 4000 | 0 | #REF! | #REF! | #REF! |  | #REF! | 0 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | #REF! | LEAN covers Panel upgrades were needed in 1-4
Knob & tube repair | #REF! | #REF! | 2500 | 0 | #REF! | #REF! | #REF! | #REF! | 2500 | 0 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | #REF! | LEAN does not have a max for K&T but averages $10,000
Total | #REF! | #REF! | 6500 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | #REF!
Check | #REF! |  |  |  |  | #REF! | #REF! |  |  |  |  | #REF! | #REF! |  |  |  |  | #REF!
Health & Safety costs
Specific measures | Low Income | [5 empty] | Moderate Income | [5 empty] | Market Rate
| Costs | Incentives |  |  |  | Gap | Costs | Incentives |  |  |  | Gap | Costs | Incentives |  |  |  | Gap
|  | Mass Save | IRA HEEHR | IRA HOME | Total |  |  | Mass Save | IRA HEEHR | IRA HOME | Total |  |  | Mass Save | IRA HEEHR | IRA HOME | Total
Basic Health & safety | #REF! | 1200 | 0 | 0 | 1200 | #REF! | #REF! | 0 | 0 | 0 | 0 | #REF! | #REF! | 0 | 0 | 0 | 0 | #REF!
Ventilation | #REF! | 0 | 0 | 0 | 0 | #REF! | #REF! | 0 | 0 | 0 | 0 | #REF! | #REF! | 0 | 0 | 0 | 0 | #REF!
Structural/resilience upgrades | #REF! | 0 | 0 | 0 | 0 | #REF! | #REF! | 0 | 0 | 0 | 0 | #REF! | #REF! | 0 | 0 | 0 | 0 | #REF!
Total | #REF! | 1200 | 0 | 0 | 1200 | #REF! | #REF! | 0 | 0 | 0 | 0 | #REF! | #REF! | 0 | 0 | 0 | 0 | #REF!
Check | #REF! |  |  |  |  | #REF! | #REF! |  |  |  |  | #REF! | #REF! |  |  |  |  | #REF!
Total Gap
| Low Income | [5 empty] | Moderate Income | [5 empty] | Market Rate
| Costs | Incentives |  |  |  | Gap | Costs | Incentives |  |  |  | Gap | Costs | Incentives |  |  |  | Gap
|  | Mass Save | IRA HEEHR | IRA HOME | Total |  |  | Mass Save | IRA HEEHR | IRA HOME | Total |  |  | Mass Save | IRA HEEHR | IRA HOME | Total
| #REF! | #VALUE! | 13999 | 8000 | #VALUE! | #VALUE! | #REF! | #REF! | #REF! | 4000 | #REF! | #VALUE! | #REF! | 15050 | 0 | 4000 | 19050 | #VALUE!
Validate IRA HEEHR Cap Spend
Total funding |  |  | 13999 | [5 empty] | #REF! | [5 empty] | 0
Is funding less than $14k? |  |  | yes | [5 empty] | #REF! | [5 empty] | yes
Note on E22: ====== ID#AAAAya5xq8U Bridgett Neely (2023-06-02 19:57:42) Still not sure these can be layered with Mass Save.
Note on L22: ====== ID#AAAAya5xq9c Bridgett Neely (2023-06-02 19:57:42) Still need to confirm these can be layered with state incentives
Note on S22: ====== ID#AAAAya5xq6I Bridgett Neely (2023-06-02 19:57:42) Still need to confirm that these can be layered with Mass Save
Note on D25: ====== ID#AAAAya5xq7E Bridgett Neely (2023-06-02 19:57:42) Assume Mass Save would net out the IRA benefit
Note on E25: ====== ID#AAAAya5xq60 Bridgett Neely (2023-06-02 19:57:42) Plug to get total HEEHR incentive below $14k
Note on L25: ====== ID#AAAAya5xq7o Bridgett Neely (2023-06-02 19:57:42) PLUG to meet $14k cap on HEEHR program
Note on D26: ====== ID#AAAAya5xq8Y Bridgett Neely (2023-06-02 19:57:42) Assume Mass Save would net out the IRA benefit
Note on K41: ====== ID#AAAAya5xq9Y Bridgett Neely (2023-06-02 19:57:42) Based on interview with Eversource
Note on R41: ====== ID#AAAAya5xq8s Bridgett Neely (2023-06-02 19:57:42) Based on interview with Eversource
Note on L58: ====== ID#AAAAya5xq80 Bridgett Neely (2023-06-02 19:57:42) Took 50% of total amount which is required for above 80% AMI
Note on D59: ====== ID#AAAAya5xq7U Bridgett Neely (2023-06-02 19:57:42) Assume Mass Save would net out the IRA Home incentive?
Note on D71: ====== ID#AAAAya5xq6o Bridgett Neely (2023-06-02 19:57:42) Assume that LEAN can use 15% of WAP funds. Note that ABCD's Barrier removal cap of $10k could also apply to health and safety

## Ph 3 - Gap Triple (hidden)
Mapping of costs for Triple Deckers
Soft costs
Specific measures | Low Income | [5 empty] | Moderate Income | [5 empty] | Market Rate
| Upfront Costs | Incentives |  |  |  | Gap | Upfront Costs | Incentives |  |  |  | Gap | Upfront Costs | Incentives |  |  |  | Gap
|  | Mass Save | IRA HEEHR | IRA HOME | Total |  |  | Mass Save | IRA HEEHR | IRA HOME | Total |  |  | Mass Save | IRA HEEHR | IRA HOME | Total
Central system sizing | n/a | [5 empty] | n/a | [5 empty] | n/a
Zero over time audit | n/a | [5 empty] | n/a | [5 empty] | n/a
Construction management | $3,000 - $5,000 / bldg | [5 empty] | $3,000 - $5,000 / bldg | [5 empty] | $3,000 - $5,000 / bldg
Total | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Check | #REF! | [5 empty] | #REF! | [5 empty] | #REF!
Gap w/o IRA incentives |  | 0 | [5 empty] | 0 | [5 empty] | 0
Electrification costs | [18 empty] | Notes
Specific measures | Low Income | [5 empty] | Moderate Income | [5 empty] | Market Rate | [5 empty] | Assume Market rate above 150% of AMI to align with IRA
| Costs | Incentives |  |  |  | Gap | Costs | Incentives |  |  |  | Gap | Costs | Incentives |  |  |  | Gap | Assume that federal LIHEAP and WAP flow through Mass Save
|  | Mass Save | IRA HEEHR | IRA HOME | Total |  |  | Mass Save | IRA HEEHR | IRA HOME | Total |  |  | Mass Save | IRA HEEHR | IRA HOME | Total |  | Assume moderate income gets full rebate as 50% of total costs exceed rebate amount
Caps |  |  | 42000 | [5 empty] | 42000 | [5 empty] | 42000
HVAC - to ASHP | 0 | -7409 | 7409 | 0 | 0 | 0 | 0 | 48000 | 9735 | 0 | 57735 | -57735 | 0 | 30000 | 0 | 0 | 30000 | -30000 | Assume replacing oil or propane, which is what triggers full Mass Save funding; Not considered cost effective if gas
HPWH | #REF! | #REF! | 5250 | 0 | #REF! | #REF! | #REF! | 2250 | 5250 | 0 | 7500 | #REF! | #REF! | 2250 | 0 | 0 | 2250 | #REF! | Assume replacing oil or propane, which is what triggers full Mass Save funding; not considred cost effective if gas
Electric stove | 0 | 1500 | 2520 | 0 | 4020 | -4020 | 0 | 1500 | 2520 | 0 | 4020 | -4020 | 0 | 1500 | 0 | 0 | 1500 | -1500
Electric dryer | 0 | 150 | 2520 | 0 | 2670 | -2670 | 0 | 150 | 2520 | 0 | 2670 | -2670 | 0 | 150 | 0 | 0 | 150 | -150
Total | #REF! | #REF! | 17699 | 0 | #REF! | #REF! | #REF! | 51900 | 20025 | 0 | 71925 | #REF! | #REF! | 33900 | 0 | 0 | 33900 | #REF!
Check | #REF! |  |  |  |  | #REF! | #REF! |  |  |  |  | #REF! | #REF! |  |  |  |  | #REF!
Gap w/o IRA incentives |  | -1650 | [5 empty] | #REF! | [5 empty] | #REF!
Energy Efficiency costs
Specific measures | Low Income | [5 empty] | Moderate Income | [5 empty] | Market Rate
| Costs | Incentives |  |  |  | Gap | Costs | Incentives |  |  |  | Gap | Costs | Incentives |  |  |  | Gap
|  | Mass Save | IRA HEEHR | IRA HOME | Total |  |  | Mass Save | IRA HEEHR | IRA HOME | Total |  |  | Mass Save | IRA HEEHR | IRA HOME | Total
Cap |  |  | 42000 | 24000 | [5 empty] | 12000 | [5 empty] | 12000 |  |  | Note that states are allowed to impose lower caps or more stringent requirements
Basic EE package | $3,670 / unit | $3,670 / unit | 0 | incentive is for aggregate savings | 0 |  | $3,670 / unit | $3,670 / unit | 0 | incentive is for aggregate savings | 0 |  | $3,670 / unit | $3,670 / unit | 0 | incentive is for aggregate savings | 0
Roof insulation upgrades | #REF! |  | 4800 |  | 4800 |  | #REF! |  | 4800 |  | 4800 |  | #REF! |  | 0 |  | 0 |  | $1600 is for insulation and air sealing, plus ventilation
Insulate rim joists | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
Insulate basement walls | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
Air sealing | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
Remove chimney | #REF! | 0 | 0 |  | 0 |  | #REF! | 0 | 0 |  | 0 |  | #REF! | 0 | 0 |  | 0
Total | #REF! | 0 | 4800 | 24000 | 28800 | #REF! | #REF! | 0 | 4800 | 12000 | 16800 | #REF! | #REF! | 0 | 0 | 12000 | 12000 | #REF!
Check | #REF! |  |  |  |  | #REF! | #REF! |  |  |  |  | #REF! | #REF! |  |  |  |  | #REF!
Gap w/o IRA incentives |  | #REF! | [5 empty] | #REF! | [5 empty] | #REF!
Make Ready costs
Specific measures | Low Income | [5 empty] | Moderate Income | [5 empty] | Market Rate
| Costs | Incentives |  |  |  | Gap | Costs | Incentives |  |  |  | Gap | Costs | Incentives |  |  |  | Gap
|  | Mass Save | IRA HEEHR | IRA HOME | Total |  |  | Mass Save | IRA HEEHR | IRA HOME | Total |  |  | Mass Save | IRA HEEHR | IRA HOME | Total
Cap | [14 empty] | 14000
Electric Panel Upgrade | #REF! | #REF! | 12000 | 0 | #REF! | #REF! | #REF! | 0 | #REF! | 0 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | #REF!
Knob & tube repair | #REF! | #REF! | 7500 | 0 | #REF! | #REF! | #REF! | #REF! | 7500 | 0 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | #REF!
Total | #REF! | #REF! | 19500 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | #REF!
Check | #REF! |  |  |  |  | #REF! | #REF! |  |  |  |  | #REF! | #REF! |  |  |  |  | #REF!
Gap w/o IRA incentives |  | #REF! | [5 empty] | #REF! | [5 empty] | #REF!
Health & Safety costs
Specific measures | Low Income | [5 empty] | Moderate Income | [5 empty] | Market Rate
| Costs | Incentives |  |  |  | Gap | Costs | Incentives |  |  |  | Gap | Costs | Incentives |  |  |  | Gap
|  | Mass Save | IRA HEEHR | IRA HOME | Total |  |  | Mass Save | IRA HEEHR | IRA HOME | Total |  |  | Mass Save | IRA HEEHR | IRA HOME | Total
Basic Health & safety | #REF! | #REF! | 0 | 0 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | #REF! | #REF! | 0 | 0 | 0 | 0 | #REF!
Ventilation | #REF! | 0 | 0 | 0 | 0 | #REF! | #REF! | 0 | 0 | 0 | 0 | #REF! | #REF! | 0 | 0 | 0 | 0 | #REF!
Structural/resilience upgrades | #REF! | 0 | 0 | 0 | 0 | #REF! | #REF! | 0 | 0 | 0 | 0 | #REF! | #REF! | 0 | 0 | 0 | 0 | #REF!
Total | #REF! | #REF! | 0 | 0 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | #REF! | #REF! | 0 | 0 | 0 | 0 | #REF!
Check | #REF! |  |  |  |  | #REF! | #REF! |  |  |  |  | #REF! | #REF! |  |  |  |  | #REF!
Gap w/o IRA incentives |  | #REF! | [5 empty] | #REF! | [5 empty] | #REF!
Total Gap
| Low Income | [5 empty] | Moderate Income | [5 empty] | Market Rate
| Costs | Incentives |  |  |  | Gap | Costs | Incentives |  |  |  | Gap | Costs | Incentives |  |  |  | Gap
|  | Mass Save | IRA HEEHR | IRA HOME | Total |  |  | Mass Save | IRA HEEHR | IRA HOME | Total |  |  | Mass Save | IRA HEEHR | IRA HOME | Total
| #REF! | #REF! | 41999 | 24000 | #REF! | #REF! | #REF! | #REF! | #REF! | 12000 | #REF! | #REF! | #REF! | 33900 | 0 | 12000 | 45900 | #REF!
Total gap w/o IRA incentives |  | #REF! | [5 empty] | #REF! | [5 empty] | #REF!
Validate IRA HEEHR Cap Spend
Total funding |  |  | 41999 | [5 empty] | #REF! | [5 empty] | 0
Is funding less than $42k? |  |  | yes | [5 empty] | #REF! | [5 empty] | yes
Note on E22: ====== ID#AAAAya5xq9U Bridgett Neely (2023-06-02 19:57:42) Still not sure these can be layered with Mass Save.
Note on L22: ====== ID#AAAAya5xq7Y Bridgett Neely (2023-06-02 19:57:42) Still need to confirm these can be layered with state incentives
Note on S22: ====== ID#AAAAya5xq6U Bridgett Neely (2023-06-02 19:57:42) Still need to confirm that these can be layered with Mass Save
Note on D25: ====== ID#AAAAya5xq7c Bridgett Neely (2023-06-02 19:57:42) Assume Mass Save would net out the IRA benefit
Note on E25: ====== ID#AAAAya5xq7A Bridgett Neely (2023-06-02 19:57:42) Added Plug to get total IRA HEEHR incentives below $42k
Note on L25: ====== ID#AAAAya5xq9M Bridgett Neely (2023-06-02 19:57:42) Adjusted downward to hit IRA HEEHR IRA cap of $42k
Note on D26: ====== ID#AAAAya5xq8o Bridgett Neely (2023-06-02 19:57:42) Assume Mass Save would net out the IRA benefit
Note on D33: ====== ID#AAAAya5xq58 Bridgett Neely (2023-06-02 19:57:42) Mass Save will cover full cost of HVAC and HPHW for low income
Note on D41: ====== ID#AAAAya5xq8E Bridgett Neely (2023-06-02 19:57:42) Based on Eversource interview, Triple Deckers covered at 100% for basic weatherization and air sealing
Note on K41: ====== ID#AAAAya5xq7M Bridgett Neely (2023-06-02 19:57:42) Based on Eversource Interview, Triple Deckers covered at 100% for basic weatherization and air sealing
Note on R41: ====== ID#AAAAya5xq6A Bridgett Neely (2023-06-02 19:57:42) Based on interview with Eversource, Triple Deckers cover 100% for basic weatherization and air sealing
Note on L59: ====== ID#AAAAya5xq7s Bridgett Neely (2023-06-02 19:57:42) 50% limit hit here as total vaue of rebate would otherwise be $12000
Note on D60: ====== ID#AAAAya5xq8A Bridgett Neely (2023-06-02 19:57:42) Assume Mass Save would net out the IRA Home incentive?
Note on D65: ====== ID#AAAAya5xq88 Bridgett Neely (2023-06-02 19:57:42) Assume Mass Save covers full cost of knob and tube repair
Note on D73: ====== ID#AAAAya5xq84 Bridgett Neely (2023-06-02 19:57:42) Can cover all of this is we assume that LEAN can use 15% of WAP funds, plus remainder from ABCD's $10k budget fwhich is not maxed out on K&T removal under low case

## Ph 3 - MFB 1-3 (hidden)
Mapping of costs for Multifamily Buildings (1-3 Floors)
Soft costs
Specific measures | Low Income | [6 empty] | Moderate Income | [6 empty] | Market Rate
| Upfront Costs | Incentives |  |  |  |  | Gap | Upfront Costs | Incentives |  |  |  |  | Gap | Upfront Costs | Incentives |  |  |  | Gap
|  | Mass Save | IRA HEEHR | IRA HOME | LISC | Total |  |  | Mass Save | IRA HEEHR | IRA HOME | LISC | Total |  |  | Mass Save | IRA HEEHR | IRA HOME | Total
Central system sizing | $4,000 / bldg | 0 | 0 | 0 |  | 0 | #VALUE! | $4,000 / bldg | 0 | 0 | 0 |  | 0 | #VALUE! | $4,000 / bldg | 0 | 0 | 0 | 0 | #VALUE!
Zero over time audit | $12,000 / bldg | 0 | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | $12,000 / bldg | 0 | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | $12,000 / bldg | 0 | 0 | 0 | 0 | #VALUE!
Construction management | $7,000 / bldg | 7000 | 0 | 0 |  | 7000 | #VALUE! | $7,000 / bldg | 0 | 0 | 0 |  | 0 | #VALUE! | $7,000 / bldg | 0 | 0 | 0 | 0 | #VALUE! | LEAN covers construction management for those buildings
Total | 0 | 7000 | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | 0 | 0 | 0 | 0 | 0 | #VALUE!
Check | #REF! | [5 empty] | #VALUE! | #REF! | [5 empty] | #VALUE! | #REF! |  |  |  |  | 0
Electrification costs | [20 empty] | Notes
Specific measures | Low Income | [6 empty] | Moderate Income | [6 empty] | Market Rate | [5 empty] | Assume Market rate above 150% of AMI to align with IRA
| Costs | Incentives |  |  |  |  | Gap | Costs | Incentives |  |  |  |  | Gap | Costs | Incentives |  |  |  | Gap | Assume that federal LIHEAP and WAP flow through Mass Save
|  | Mass Save | IRA HEEHR | IRA HOME |  | Total |  |  | Mass Save | IRA HEEHR | IRA HOME |  | Total |  |  | Mass Save | IRA HEEHR | IRA HOME | Total |  | Assume moderate income gets full rebate as 50% of total costs exceed rebate amount
Caps |  |  | 182000 | [6 empty] | 182000 | [6 empty] | 182000 |  |  |  | Assume HEEHR incentive cap applies on a per unit basis; states look like they could amend this
HVAC - to ASHP | $20,000 / unit | #VALUE! | 63829 | 0 |  | #VALUE! | #VALUE! | $20,000 / unit | #VALUE! | 63829 | 0 |  | #VALUE! | #VALUE! | $20,000 / unit | 160000 | 0 | 0 | 160000 | #VALUE! | Assume replacing oil or propane, which is what triggers full Mass Save funding; not considered cost effective if gas
HPWH | $6,230 / unit | #VALUE! | 22750 | 0 |  | #VALUE! | #VALUE! | $6,230 / unit | 9750 | 22750 | 0 |  | 32500 | #VALUE! | $6,230 / unit | 9750 | 0 | 0 | 9750 | #VALUE! | Assume replacing oil or propane, which is what triggers full Mass Save funding; not considered cost effective if gas
Electric stove | $3,650 / unit | 6500 | 10920 | 0 |  | 17420 | #VALUE! | $3,650 / unit | 6500 | 10920 | 0 |  | 17420 | #VALUE! | $3,650 / unit | 6500 | 0 | 0 | 6500 | #VALUE!
Electric dryer | n/a | 0 | 0 | 0 |  | 0 | #VALUE! | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total | 0 | #VALUE! | 97499 | 0 |  | #VALUE! | #VALUE! | 0 | #VALUE! | 97499 | 0 |  | #VALUE! | #VALUE! | 0 | 176250 | 0 | 0 | 176250 | #VALUE!
Check | #REF! | [5 empty] | #VALUE! | #REF! | [5 empty] | #VALUE! | #REF! |  |  |  |  | -176250
Energy Efficiency costs
Specific measures | Low Income | [6 empty] | Moderate Income | [6 empty] | Market Rate
| Costs | Incentives |  |  |  |  | Gap | Costs | Incentives |  |  |  |  | Gap | Costs | Incentives |  |  |  | Gap
|  | Mass Save | IRA HEEHR | IRA HOME |  | Total |  |  | Mass Save | IRA HEEHR | IRA HOME |  | Total |  |  | Mass Save | IRA HEEHR | IRA HOME | Total
Cap |  |  |  | No cap under 80% AMI | [6 empty] | No cap under 80% AMI | [6 empty] | 400000 |  |  | Note that states are allowed to impose lower caps or more stringent requirements
Assuming that our retrofits hit 35% energy savings to achieve full cap
Basic EE package | $3,670 / unit | $3,670 / unit |  | incentive is for aggregate savings |  | 0 |  | $3,670 / unit | $3,670 / unit |  | incentive is for aggregate savings |  | 0 |  | $3,670 / unit | #VALUE! | 0 | incentive is for aggregate savings | #VALUE! |  | LEAN says about EE program covers on average $1200/unit in 5+
Roof insulation upgrades | #REF! |  |  |  |  | 0 |  | #REF! |  |  |  |  | 0 |  | #REF! | 0 | 0 |  | 0 |  | $1600 is for insulation and air sealing, plus ventilation
Insulate rim joists | 0 |  |  |  |  | 0 |  | 0 |  |  |  |  | 0 |  | 0 | 0 | 0 |  | 0
Insulate basement walls | 0 |  |  |  |  | 0 |  | 0 |  |  |  |  | 0 |  | 0 | 0 | 0 |  | 0
Air sealing | 0 |  |  |  |  | 0 |  | 0 |  |  |  |  | 0 |  | 0 | 0 | 0 |  | 0
Remove chimney | #REF! |  |  |  |  | 0 |  | #REF! |  |  |  |  | 0 |  | #REF! | 0 | 0 |  | 0
Total | #REF! | 0 | 0 | 93389 |  | 93389 | #REF! | #REF! | 0 | 0 | 93389 |  | 93389 | #REF! | #REF! | #VALUE! | 0 | 52000 | #VALUE! | #REF!
Check | #REF! | [5 empty] | #REF! | #REF! | [5 empty] | #REF! | #REF! |  |  |  |  | #REF!
Make Ready costs
Specific measures | Low Income | [6 empty] | Moderate Income | [6 empty] | Market Rate
| Costs | Incentives |  |  |  |  | Gap | Costs | Incentives |  |  |  |  | Gap | Costs | Incentives |  |  |  | Gap
|  | Mass Save | IRA HEEHR | IRA HOME |  | Total |  |  | Mass Save | IRA HEEHR | IRA HOME |  | Total |  |  | Mass Save | IRA HEEHR | IRA HOME | Total
Cap
Electric Panel Upgrade | #REF! |  | 52000 | 0 |  | 52000 | #REF! | #REF! | 0 | #REF! | 0 |  | #REF! | #REF! | #REF! |  | 0 | 0 | 0 | #REF!
Knob & tube repair | #REF! |  | 32500 | 0 |  | 32500 | #REF! | #REF! | 0 | 32500 | 0 |  | 32500 | #REF! | #REF! |  | 0 | 0 | 0 | #REF!
Total | #REF! | 0 | 84500 | 0 |  | 84500 | #REF! | #REF! | 0 | #REF! | 0 |  | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | #REF!
Check | #REF! | [5 empty] | #REF! | #REF! | [5 empty] | #REF! | #REF! |  |  |  |  | #REF!
Health & Safety costs
Specific measures | Low Income | [6 empty] | Moderate Income | [6 empty] | Market Rate
| Costs | Incentives |  |  |  |  | Gap | Costs | Incentives |  |  |  |  | Gap | Costs | Incentives |  |  |  | Gap
|  | Mass Save | IRA HEEHR | IRA HOME |  | Total |  |  | Mass Save | IRA HEEHR | IRA HOME |  | Total |  |  | Mass Save | IRA HEEHR | IRA HOME | Total
Basic Health & safety | #REF! |  | 0 | 0 |  | 0 | #REF! | #REF! | 0 | 0 | 0 |  | 0 | #REF! | #REF! | 0 | 0 | 0 | 0 | #REF!
Ventilation | #REF! | 0 | 0 | 0 |  | 0 | #REF! | #REF! | 0 | 0 | 0 |  | 0 | #REF! | #REF! | 0 | 0 | 0 | 0 | #REF!
Structural/resilience upgrades | #REF! | 0 | 0 | 0 |  | 0 | #REF! | #REF! | 0 | 0 | 0 |  | 0 | #REF! | #REF! | 0 | 0 | 0 | 0 | #REF!
Total | #REF! | 0 | 0 | 0 |  | 0 | #REF! | #REF! | 0 | 0 | 0 |  | 0 | #REF! | #REF! | 0 | 0 | 0 | 0 | #REF!
Check | #REF! | [5 empty] | #REF! | #REF! | [5 empty] | #REF! | #REF! |  |  |  |  | #REF!
Total Gap
| Low Income | [6 empty] | Moderate Income | [6 empty] | Market Rate
| Costs | Incentives |  |  |  |  | Gap | Costs | Incentives |  |  |  |  | Gap | Costs | Incentives |  |  |  | Gap
|  | Mass Save | IRA HEEHR | IRA HOME |  | Total |  |  | Mass Save | IRA HEEHR | IRA HOME |  | Total |  |  | Mass Save | IRA HEEHR | IRA HOME | Total
| #REF! | #VALUE! | 181999 | 93389 |  | #VALUE! | #VALUE! | #REF! | #VALUE! | #REF! | 93389 |  | #VALUE! | #VALUE! | #REF! | #VALUE! | 0 | 52000 | #VALUE! | #VALUE!
Validate IRA HEEHR Cap Spend
Total funding |  |  | 181999 | [6 empty] | #REF!
Is funding less than | 182000 |  | yes | [6 empty] | #REF!
Note on E22: ====== ID#AAAAya5xq74 Bridgett Neely (2023-06-02 19:57:42) Still not sure these can be layered with Mass Save.
Note on M22: ====== ID#AAAAya5xq6c Bridgett Neely (2023-06-02 19:57:42) Still need to confirm these can be layered with state incentives
Note on U22: ====== ID#AAAAya5xq9g Bridgett Neely (2023-06-02 19:57:42) Still need to confirm that these can be layered with Mass Save
Note on D25: ====== ID#AAAAya5xq6w Bridgett Neely (2023-06-02 19:57:42) Assume Mass Save would net out the IRA benefit
Note on E25: ====== ID#AAAAya5xq8w Bridgett Neely (2023-06-02 19:57:42) Plug to fit the IRA HEEHR cap
Note on L25: ====== ID#AAAAya5xq64 Bridgett Neely (2023-06-02 19:57:42) Assume $16k per unit incentive for mod income
Note on M25: ====== ID#AAAAya5xq7g Bridgett Neely (2023-06-02 19:57:42) Plug to meet IRA HEEHR cap
Note on T25: ====== ID#AAAAya5xq50 Bridgett Neely (2023-06-02 19:57:42) Assumed prescriptive per unit incentive of $10k per unit
Note on D26: ====== ID#AAAAya5xq9E Bridgett Neely (2023-06-02 19:57:42) Assume Mass Save would net out the IRA benefit
Note on L26: ====== ID#AAAAya5xq78 Bridgett Neely (2023-06-02 19:57:42) Based on interview with Eversource, mod and mkt rate and access incentive for HPHW
Note on T26: ====== ID#AAAAya5xq6Y Bridgett Neely (2023-06-02 19:57:42) Based on interview with Eversource
Note on D27: ====== ID#AAAAya5xq7w Bridgett Neely (2023-06-02 19:57:42) Eversource confirmed that $500 rebate for electric stoves good for all income, both SFH and MFB
Note on L27: ====== ID#AAAAya5xq6E Bridgett Neely (2023-06-02 19:57:42) Eversource confirmed that $500 rebate for electric stoves good for all incomes and MFB
Note on T27: ====== ID#AAAAya5xq9I Bridgett Neely (2023-06-02 19:57:42) Eversource confirmed that $500 rebate for electric stoves good for all incomes and MFB
Note on E42: ====== ID#AAAAya5xq7k Bridgett Neely (2023-06-02 19:57:42) HEEHR incentive not needed
Note on M42: ====== ID#AAAAya5xq7Q Bridgett Neely (2023-06-02 19:57:42) HEEHR incentive not needed
Note on M58: ====== ID#AAAAya5xq70 Bridgett Neely (2023-06-02 19:57:42) Don't need full $4k per unit
Note on D71: ====== ID#AAAAya5xq8M Bridgett Neely (2023-06-02 19:57:42) LEAN does not use WAP for MFB

## Ph 3 - MFB 4-6 (hidden)
Mapping of costs for Multifamily Buildings (4-6 floors)
Soft costs
Specific measures | Low Income | [6 empty] | Moderate Income | [6 empty] | Market Rate
| Upfront Costs | Incentives |  |  |  |  | Gap | Upfront Costs | Incentives |  |  |  |  | Gap | Upfront Costs | Incentives |  |  |  | Gap
|  | Mass Save | IRA HEEHR | IRA HOME | LISC | Total |  |  | Mass Save | IRA HEEHR | IRA HOME | LISC | Total |  |  | Mass Save | IRA HEEHR | IRA HOME | Total
Central system sizing | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Zero over time audit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Construction management | 0 | 7000 | 0 | 0 |  | 7000 | -7000 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | LEAN covers construction management
Total | 0 | 7000 | 0 | 0 | 0 | 7000 | -7000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Check | #REF! | [5 empty] | -7000 | #REF! | [5 empty] | 0 | #REF! |  |  |  |  | 0
Electrification costs | [20 empty] | Notes
Specific measures | Low Income | [6 empty] | Moderate Income | [6 empty] | Market Rate | [5 empty] | Assume Market rate above 150% of AMI to align with IRA
| Costs | Incentives |  |  |  |  | Gap | Costs | Incentives |  |  |  |  | Gap | Costs | Incentives |  |  |  | Gap | Assume that federal LIHEAP and WAP flow through Mass Save
|  | Mass Save | IRA HEEHR | IRA HOME |  | Total |  |  | Mass Save | IRA HEEHR | IRA HOME |  | Total |  |  | Mass Save | IRA HEEHR | IRA HOME | Total |  | Assume moderate income gets full rebate as 50% of total costs exceed rebate amount
Caps |  |  | 224000 | [6 empty] | 224000 | [6 empty] | 224000 |  |  |  | Assume HEEHR incentive cap applies on a per unit basis; states look like they could amend this
HVAC - to ASHP | 0 | -78500 | 78500 | 0 |  | 0 | 0 | 0 | 208000 | 78500 | 0 |  | 286500 | -286500 | 0 | 160000 | 0 | 0 | 160000 | -160000 | Assume replacing oil or propane, which is what triggers full Mass Save funding
HPWH | 0 | -28000 | 28000 | 0 |  | 0 | 0 | 0 | 12000 | 28000 | 0 |  | 40000 | -40000 | 0 | 12000 | 0 | 0 | 12000 | -12000 | Assume replacing oil or propane, which is what triggers full Mass Save funding
Electric stove | 0 | 8000 | 13440 | 0 |  | 21440 | -21440 | 0 | 8000 | 13440 | 0 |  | 21440 | -21440 | 0 | 8000 | 0 | 0 | 8000 | -8000
Electric dryer | n/a | 0 | 0 | 0 |  | 0 | #VALUE! | n/a | 0 | 0 | 0 |  | 0 | #VALUE! | n/a | 0 | 0 | 0 | 0 | #VALUE!
Total | 0 | -98500 | 119940 | 0 |  | 21440 | #VALUE! | 0 | 228000 | 119940 | 0 |  | 347940 | #VALUE! | 0 | 180000 | 0 | 0 | 180000 | #VALUE!
Check | #REF! | [5 empty] | -21440 | #REF! | [5 empty] | -347940 | #REF! |  |  |  |  | -180000
Energy Efficiency costs
Specific measures | Low Income | [6 empty] | Moderate Income | [6 empty] | Market Rate
| Costs | Incentives |  |  |  |  | Gap | Costs | Incentives |  |  |  |  | Gap | Costs | Incentives |  |  |  | Gap
|  | Mass Save | IRA HEEHR | IRA HOME |  | Total |  |  | Mass Save | IRA HEEHR | IRA HOME |  | Total |  |  | Mass Save | IRA HEEHR | IRA HOME | Total
Cap |  |  |  | no cap under 80% of AMI | [6 empty] | no cap under 80% of AMI | [6 empty] | 400000 |  |  | Note that states are allowed to impose lower caps or more stringent requirements
Assuming that our retrofits hit 35% energy savings to achieve full cap
Basic EE package | 0 | 0 |  | incentive is for aggregate savings |  | 0 |  | 0 | 0 |  | incentive is for aggregate savings |  | 0 |  | 0 | 0 |  | incentive is for aggregate savings | 0 |  | LEAN averages $1200 per unit for EE
Roof insulation upgrades | #REF! |  |  |  |  | 0 |  | #REF! |  |  |  |  | 0 |  | #REF! |  |  |  | 0 |  | $1600 is for insulation and air sealing, plus ventilation
Insulate rim joists | 0 |  |  |  |  | 0 |  | 0 |  |  |  |  | 0 |  | 0 |  |  |  | 0
Insulate basement walls | 0 |  |  |  |  | 0 |  | 0 |  |  |  |  | 0 |  | 0 |  |  |  | 0
Air sealing | 0 |  |  |  |  | 0 |  | 0 |  |  |  |  | 0 |  | 0 |  |  |  | 0
Remove chimney | #REF! |  |  |  |  | 0 |  | #REF! |  |  |  |  | 0 |  | #REF! |  |  |  | 0
Total | #REF! | 0 | 0 | 89199 |  | 89199 | #REF! | #REF! | 0 | 0 | 89199 |  | 89199 | #REF! | #REF! | 0 | 0 | 64000 | 64000 | #REF!
Check | #REF! | [5 empty] | #REF! | #REF! | [5 empty] | #REF! | #REF! |  |  |  |  | #REF!
Make Ready costs
Specific measures | Low Income | [6 empty] | Moderate Income | [6 empty] | Market Rate
| Costs | Incentives |  |  |  |  | Gap | Costs | Incentives |  |  |  |  | Gap | Costs | Incentives |  |  |  | Gap
|  | Mass Save | IRA HEEHR | IRA HOME |  | Total |  |  | Mass Save | IRA HEEHR | IRA HOME |  | Total |  |  | Mass Save | IRA HEEHR | IRA HOME | Total
Cap
Electric Panel Upgrade | #REF! |  | 64000 | 0 |  | 64000 | #REF! | #REF! | 0 | 64000 | 0 |  | 64000 | #REF! | #REF! | 0 | 0 | 0 | 0 | #REF!
Knob & tube repair | #REF! |  | 40000 | 0 |  | 40000 | #REF! | #REF! | 0 | 40000 | 0 |  | 40000 | #REF! | #REF! | 0 | 0 | 0 | 0 | #REF!
Total | #REF! | 0 | 104000 | 0 |  | 104000 | #REF! | #REF! | 0 | 104000 | 0 |  | 104000 | #REF! | #REF! | 0 | 0 | 0 | 0 | #REF!
Check | #REF! | [5 empty] | #REF! | #REF! | [5 empty] | #REF! | #REF! |  |  |  |  | #REF!
Health & Safety costs
Specific measures | Low Income | [6 empty] | Moderate Income | [6 empty] | Market Rate
| Costs | Incentives |  |  |  |  | Gap | Costs | Incentives |  |  |  |  | Gap | Costs | Incentives |  |  |  | Gap
|  | Mass Save | IRA HEEHR | IRA HOME |  | Total |  |  | Mass Save | IRA HEEHR | IRA HOME |  | Total |  |  | Mass Save | IRA HEEHR | IRA HOME | Total
Basic Health & safety | #REF! |  | 0 | 0 |  | 0 | #REF! | #REF! | 0 | 0 | 0 |  | 0 | #REF! | #REF! | 0 | 0 | 0 | 0 | #REF!
Ventilation | #REF! | 0 | 0 | 0 |  | 0 | #REF! | #REF! | 0 | 0 | 0 |  | 0 | #REF! | #REF! | 0 | 0 | 0 | 0 | #REF!
Structural/resilience upgrades | #REF! | 0 | 0 | 0 |  | 0 | #REF! | #REF! | 0 | 0 | 0 |  | 0 | #REF! | #REF! | 0 | 0 | 0 | 0 | #REF!
Total | #REF! | 0 | 0 | 0 |  | 0 | #REF! | #REF! | 0 | 0 | 0 |  | 0 | #REF! | #REF! | 0 | 0 | 0 | 0 | #REF!
Check | #REF! | [5 empty] | #REF! | #REF! | [5 empty] | #REF! | #REF! |  |  |  |  | #REF!
Total Gap
| Low Income | [6 empty] | Moderate Income | [6 empty] | Market Rate
| Costs | Incentives |  |  |  |  | Gap | Costs | Incentives |  |  |  |  | Gap | Costs | Incentives |  |  |  | Gap
|  | Mass Save | IRA HEEHR | IRA HOME |  | Total |  |  | Mass Save | IRA HEEHR | IRA HOME |  | Total |  |  | Mass Save | IRA HEEHR | IRA HOME | Total
| #REF! | -91500 | 223940 | 89199 |  | 221639 | #VALUE! | #REF! | 228000 | 223940 | 89199 |  | 541139 | #VALUE! | #REF! | 180000 | 0 | 64000 | 244000 | #VALUE!
Validate IRA HEEHR Cap Spend
Total funding |  |  | 223940 | [6 empty] | 223940
Is funding less than | 224000 |  | yes | [6 empty] | yes
-60
Note on E22: ====== ID#AAAAya5xq6g Bridgett Neely (2023-06-02 19:57:42) Still not sure these can be layered with Mass Save.
Note on M22: ====== ID#AAAAya5xq54 Bridgett Neely (2023-06-02 19:57:42) Still need to confirm these can be layered with state incentives
Note on U22: ====== ID#AAAAya5xq8g Bridgett Neely (2023-06-02 19:57:42) Still need to confirm that these can be layered with Mass Save
Note on D25: ====== ID#AAAAya5xq9A Bridgett Neely (2023-06-02 19:57:42) Assume Mass Save would net out the IRA benefit
Note on E25: ====== ID#AAAAya5xq7I Bridgett Neely (2023-06-02 19:57:42) Plug to meet IRA HEEHR cap
Note on L25: ====== ID#AAAAya5xq9Q Bridgett Neely (2023-06-02 19:57:42) Mass Saves covers up to $300k for HP under market rate program; will they cover this netted amount or should I reduce by 20k?
Note on M25: ====== ID#AAAAya5xq8k Bridgett Neely (2023-06-02 19:57:42) Cap to meet IRA HEEHR cap
Note on D26: ====== ID#AAAAya5xq68 Bridgett Neely (2023-06-02 19:57:42) Assume Mass Save would net out the IRA benefit
Note on L26: ====== ID#AAAAya5xq8Q Bridgett Neely (2023-06-02 19:57:42) Based on interview with Eversource
Note on T26: ====== ID#AAAAya5xq8c Bridgett Neely (2023-06-02 19:57:42) Based on interview with Eversource
Note on D27: ====== ID#AAAAya5xq6M Bridgett Neely (2023-06-02 19:57:42) Based on interview with Eversource
Note on L27: ====== ID#AAAAya5xq6Q Bridgett Neely (2023-06-02 19:57:42) Based on interview with Eversource
Note on T27: ====== ID#AAAAya5xq6k Bridgett Neely (2023-06-02 19:57:42) Based on interview with Eversource
Note on F48: ====== ID#AAAAya5xq6s Bridgett Neely (2023-06-02 19:57:42) Adjusted to reflect need
Note on D71: ====== ID#AAAAya5xq8I Bridgett Neely (2023-06-02 19:57:42) LEAN does not use WAP for MFB

## Gap Analysis Stack Assumptions
OPTIMAL FUNDING STACK ASSUMPTIONS, by Typology, Retrofit Type, Income & Scenario
The analysis was finalized in March 2023; assumptions about incentives and rules were based on information available about Mass Saves and IRA incentives at that time. We validated our understanding of how these programs worked in reality with implementing organizations, including New Ecology, ABCD, and Eversource
Single Family Homes ¦ Mapping Costs & Incentives (Low Case)
Specific measures | Low Income | [6 empty] | Moderate Income | [6 empty] | Market Rate
| Upfront Costs | Optimal Incentive Stack |  |  |  |  | Gap | Upfront Costs | Optimal Incentive Stack |  |  |  |  | Gap | Upfront Costs | Optimal Incentive Stack |  |  |  | Gap
|  | Mass Save | IRA HEEHR | IRA HOME |  | Total |  |  | Mass Save | IRA HEEHR | IRA HOME |  | Total |  |  | Mass Save | IRA HEEHR | IRA HOME | Total
Soft Costs | 2000 | 0 | 0 | 0 |  | 0 | 2000 | 2000 | 0 | 0 | 0 |  | 0 | 2000 | 2000 | 0 | 0 | 0 | 0 | 2000
Electrification | 34276 | 24092 | 5899 | 0 |  | 29991 | 4285 | 34276 | 17300 | 6609 | 0 |  | 23909 | 10367 | 34276 | 11300 | 0 | 0 | 11300 | 22976
Energy Efficiency | 24692.3683 | 5800 | 1600 | 8000 |  | 15400 | 9292.3683 | 24692.3683 | 4000 | 1600 | 4000 |  | 9600 | 15092.3683 | 24692.3683 | 3750 | 0 | 4000 | 7750 | 16942.3683
Electric Readiness | 11777 | 5277 | 6500 | 0 |  | 11777 | 0 | 9540 | 3750 | 4145 | 0 |  | 7895 | 1645 | 4145 | 0 | 0 | 0 | 0 | 4145
Health & Safety | 22350 | 1200 | 0 | 0 |  | 1200 | 21150 | 19150 | 0 | 0 | 0 |  | 0 | 19150 | 12600 | 0 | 0 | 0 | 0 | 12600
Caps |  |  | 14000 | [6 empty] | 14000 | [6 empty] | 14000
Total | 95095.3683 | 36369 | 13999 | 8000 |  | 58368 | 36727.3683 | 89658.3683 | 25050 | 12354 | 4000 |  | 41404 | 48254.3683 | 77713.3683 | 15050 | 0 | 4000 | 19050 | 58663.3683
Single Family Homes ¦ Mapping Costs & Incentives (Base Case)
Specific measures | Low Income | [6 empty] | Moderate Income | [6 empty] | Market Rate
| Upfront Costs | Optimal Incentive Stack |  |  |  |  | Gap | Upfront Costs | Optimal Incentive Stack |  |  |  |  | Gap | Upfront Costs | Optimal Incentive Stack |  |  |  | Gap
|  | Mass Save | IRA HEEHR | IRA HOME |  | Total |  |  | Mass Save | IRA HEEHR | IRA HOME |  | Total |  |  | Mass Save | IRA HEEHR | IRA HOME | Total
Soft Costs | 3000 | 0 | 0 | 0 |  | 0 | 3000 | 3000 | 0 | 0 | 0 |  | 0 | 3000 | 3000 | 0 | 0 | 0 | 0 | 3000
Electrification | 34276 | 24092 | 5899 | 0 |  | 29991 | 4285 | 34276 | 17300 | 6609 | 0 |  | 23909 | 10367 | 34276 | 11300 | 0 | 0 | 11300 | 22976
Energy Efficiency | 24692.3683 | 5800 | 1600 | 8000 |  | 15400 | 9292.3683 | 24692.3683 | 4000 | 1600 | 4000 |  | 9600 | 15092.3683 | 24692.3683 | 3750 | 0 | 4000 | 7750 | 16942.3683
Electric Readiness | 19080 | 12580 | 6500 | 0 |  | 19080 | 0 | 16251 | 7000 | 5625.5 | 0 |  | 12625.5 | 3625.5 | 14606 | 0 | 0 | 0 | 0 | 14606
Health & Safety | 26000 | 1200 | 0 | 0 |  | 1200 | 24800 | 25050 | 0 | 0 | 0 |  | 0 | 25050 | 19650 | 0 | 0 | 0 | 0 | 19650
Caps |  |  | 14000 | [6 empty] | 14000 | [6 empty] | 14000
Total | 107048.3683 | 43672 | 13999 | 8000 |  | 65671 | 41377.3683 | 103269.3683 | 28300 | 13834.5 | 4000 |  | 46134.5 | 57134.8683 | 96224.3683 | 15050 | 0 | 4000 | 19050 | 77174.3683
2-4 Unit Homes ¦ Mapping Costs & Incentives (Low Case)
Specific measures | Low Income | [6 empty] | Moderate Income | [6 empty] | Market Rate
| Upfront Costs | Optimal Incentive Stack |  |  |  |  | Gap | Upfront Costs | Optimal Incentive Stack |  |  |  |  | Gap | Upfront Costs | Optimal Incentive Stack |  |  |  | Gap
|  | Mass Save | IRA HEEHR | IRA HOME |  | Total |  |  | Mass Save | IRA HEEHR | IRA HOME |  | Total |  |  | Mass Save | IRA HEEHR | IRA HOME | Total
Soft Costs | 3000 | 0 | 0 | 0 |  | 0 | 3000 | 3000 | 0 | 0 | 0 |  | 0 | 3000 | 3000 | 0 | 0 | 0 | 0 | 3000
Electrification | 90828 | 60274 | 17699 | 0 |  | 77973 | 12855 | 90828 | 51900 | 20025 | 0 |  | 71925 | 18903 | 90828 | 33900 | 0 | 0 | 33900 | 56928
Energy Efficiency | 45148.5625 | 11008.5 | 4800 | 24000 |  | 39808.5 | 5340.0625 | 45148.5625 | 11008.5 | 4800 | 12000 |  | 27808.5 | 17340.0625 | 45148.5625 | 11008.5 | 0 | 12000 | 23008.5 | 22140.0625
Electric Readiness | 26331 | 6831 | 19500 | 0 |  | 26331 | 0 | 21120 | 3750 | 12435 | 0 |  | 16185 | 4935 | 9435 | 0 | 0 | 0 | 0 | 9435
Health & Safety | 49319.2193 | 5208.6245 | 0 | 0 |  | 5208.6245 | 44110.5948 | 43341.0967 | 0 | 0 | 0 |  | 0 | 43341.0967 | 30450 | 0 | 0 | 0 | 0 | 30450
Caps |  |  | 42000 | [6 empty] | 42000 | [6 empty] | 42000
Total | 214626.7818 | 83322.1245 | 41999 | 24000 |  | 149321.1245 | 65305.6573 | 203437.6592 | 66658.5 | 37260 | 12000 |  | 115918.5 | 87519.1592 | 178861.5625 | 44908.5 | 0 | 12000 | 56908.5 | 121953.0625
2-4 Unit Homes ¦ Mapping Costs & Incentives (Base Case)
Specific measures | Low Income | [6 empty] | Moderate Income | [6 empty] | Market Rate
| Upfront Costs | Optimal Incentive Stack |  |  |  |  | Gap | Upfront Costs | Optimal Incentive Stack |  |  |  |  | Gap | Upfront Costs | Optimal Incentive Stack |  |  |  | Gap
|  | Mass Save | IRA HEEHR | IRA HOME |  | Total |  |  | Mass Save | IRA HEEHR | IRA HOME |  | Total |  |  | Mass Save | IRA HEEHR | IRA HOME | Total
Soft Costs | 5000 | 0 | 0 | 0 |  | 0 | 3000 | 5000 | 0 | 0 | 0 |  | 0 | 3000 | 5000 | 0 | 0 | 0 | 0 | 5000
Electrification | 90828 | 60274 | 17699 | 0 |  | 77973 | 12855 | 90828 | 51900 | 20025 | 0 |  | 71925 | 18903 | 90828 | 33900 | 0 | 0 | 33900 | 56928
Energy Efficiency | 45148.5625 | 11008.5 | 4800 | 24000 |  | 39808.5 | 5340.0625 | 45148.5625 | 11008.5 | 4800 | 12000 |  | 27808.5 | 17340.0625 | 45148.5625 | 8256.375 | 0 | 12000 | 20256.375 | 24892.1875
Electric Readiness | 42240 | 17740 | 19500 | 0 |  | 37240 | 5000 | 36753 | 10500 | 16876.5 | 0 |  | 27376.5 | 9376.5 | 31818 | 0 | 0 | 0 | 0 | 31818
Health & Safety | 56728.2528 | 3600 | 0 | 0 |  | 3600 | 53128.2528 | 55157.3978 | 0 | 0 | 0 |  | 0 | 55157.3978 | 44854.684 | 0 | 0 | 0 | 0 | 44854.684
Caps |  |  | 42000 | [6 empty] | 42000 | [6 empty] | 42000
Total | 239944.8153 | 92622.5 | 41999 | 24000 |  | 158621.5 | 81323.3153 | 232886.9603 | 73408.5 | 41701.5 | 12000 |  | 127110 | 105776.9603 | 217649.2465 | 42156.375 | 0 | 12000 | 54156.375 | 163492.8715
Low-Rise Multifamily (1-3 Stories) ¦ Mapping Costs & Incentives (Low Case)
Specific measures | Low Income | [6 empty] | Moderate Income | [6 empty] | Market Rate
| Upfront Costs | Optimal Incentive Stack |  |  |  |  | Gap | Upfront Costs | Optimal Incentive Stack |  |  |  |  | Gap | Upfront Costs | Optimal Incentive Stack |  |  |  | Gap
|  | Mass Save | IRA HEEHR | IRA HOME | LISC | Total |  |  | Mass Save | IRA HEEHR | IRA HOME | LISC | Total |  |  | Mass Save | IRA HEEHR | IRA HOME | Total
Soft Costs | 23000 | 7000 | 0 | 0 | 6000 | 13000 | 10000 | 23000 | 0 | 0 | 0 | 6000 | 6000 | 17000 | 23000 | 0 | 0 | 0 | 0 | 23000
Electrification | 388440 | 260911 | 97499 | 0 |  | 358410 | 30030 | 388440 | 212421 | 97499 | 0 |  | 309920 | 78520 | 388440 | 176250 | 0 | 0 | 176250 | 212190
Energy Efficiency | 141092.6228 | 47703.5 | 0 | 93389 |  | 141092.5 | 0.12283 | 141092.6228 | 47703.5 | 0 | 93389 |  | 141092.5 | 0.12283 | 141092.6228 | 35777.625 | 0 | 52000 | 87777.625 | 53314.9978
Electric Readiness | 114101 | 0 | 84500 | 0 |  | 84500 | 29601 | 91520 | 0 | 75270 | 0 |  | 75270 | 16250 | 40885 | 0 | 0 | 0 | 0 | 40885
Health & Safety | 197636.9703 | 0 | 0 | 0 |  | 0 | 197636.9703 | 178120.539 | 0 | 0 | 0 |  | 0 | 178120.539 | 131950 | 0 | 0 | 0 | 0 | 131950
Caps |  |  | 182000 | [6 empty] | 182000
Total | 864270.5931 | 315614.5 | 181999 | 93389 | 6000 | 597002.5 | 267268.0931 | 822173.1619 | 260124.5 | 172769 | 93389 | 6000 | 532282.5 | 289890.6619 | 725367.6228 | 212027.625 | 0 | 52000 | 264027.625 | 461339.9978
Mid-Rise Multifamily (1-3 Stories) ¦ Mapping Costs & Incentives (Base Case)
Specific measures | Low Income | [6 empty] | Moderate Income | [6 empty] | Market Rate
| Upfront Costs | Optimal Incentive Stack |  |  |  |  | Gap | Upfront Costs | Optimal Incentive Stack |  |  |  |  | Gap | Upfront Costs | Optimal Incentive Stack |  |  |  | Gap
|  | Mass Save | IRA HEEHR | IRA HOME | LISC | Total |  |  | Mass Save | IRA HEEHR | IRA HOME | LISC | Total |  |  | Mass Save | IRA HEEHR | IRA HOME | Total
Soft Costs | 23000 | 7000 | 0 | 0 | 10000 | 13000 | 10000 | 23000 | 0 | 0 | 0 | 6000 | 6000 | 17000 | 23000 | 0 | 0 | 0 | 0 | 23000
Electrification | 388440 | 260911 | 97499 | 0 |  | 358410 | 30030 | 388440 | 212421 | 97499 | 0 |  | 309920 | 78520 | 388440 | 146250 | 0 | 0 | 146250 | 242190
Energy Efficiency | 141092.6228 | 47703.5 | 0 | 93389 |  | 141092.5 | 0.12283 | 141092.6228 | 47703.5 | 0 | 93389 |  | 141092.5 | 0.12283 | 141092.6228 | 35777.625 | 0 | 52000 | 87777.625 | 53314.9978
Electric Readiness | 183040 | 0 | 84500 | 0 |  | 84500 | 98540 | 159263 | 0 | 84500 | 0 |  | 84500 | 74763 | 137878 | 0 | 0 | 0 | 0 | 137878
Health & Safety | 225916.0781 | 0 | 0 | 0 |  | 0 | 225916.0781 | 221361.9703 | 0 | 0 | 0 |  | 0 | 221361.9703 | 186562.3234 | 0 | 0 | 0 | 0 | 186562.3234
Caps |  |  | 182000 | [6 empty] | 182000
Total | 961488.7009 | 315614.5 | 181999 | 93389 | 10000 | 597002.5 | 364486.2009 | 933157.5931 | 260124.5 | 181999 | 93389 | 6000 | 541512.5 | 391645.0931 | 876972.9462 | 182027.625 | 0 | 52000 | 234027.625 | 642945.3212
Mid-Rise Multifamily (4-6 Stories) ¦ Mapping Costs & Incentives (Low Case)
Specific measures | Low Income | [6 empty] | Moderate Income | [6 empty] | Market Rate
| Upfront Costs | Optimal Incentive Stack |  |  |  |  | Gap | Upfront Costs | Optimal Incentive Stack |  |  |  |  | Gap | Upfront Costs | Optimal Incentive Stack |  |  |  | Gap
|  | Mass Save | IRA HEEHR | IRA HOME | LISC | Total |  |  | Mass Save | IRA HEEHR | IRA HOME | LISC | Total |  |  | Mass Save | IRA HEEHR | IRA HOME | Total
Soft Costs | 23000 | 7000 | 0 | 0 | 6000 | 13000 | 10000 | 23000 | 0 | 0 | 0 | 6000 | 6000 | 17000 | 23000 | 0 | 0 | 0 | 0 | 23000
Electrification | 478080 | 321180 | 119940 | 0 |  | 441120 | 36960 | 478080 | 228000 | 119940 | 0 |  | 347940 | 130140 | 478080 | 180000 | 0 | 0 | 180000 | 298080
Energy Efficiency | 147910.7539 | 58712 | 0 | 89199 |  | 147911 | -0.24613 | 147910.7539 | 58712 | 0 | 89199 |  | 147911 | -0.24613 | 147910.7539 | 14678 | 0 | 64000 | 78678 | 69232.7539
Electric Readiness | 140432 | 0 | 104000 | 0 |  | 104000 | 36432 | 112640 | 0 | 104000 | 0 |  | 104000 | 8640 | 50320 | 0 | 0 | 0 | 0 | 50320
Health & Safety | 244877.881 | 0 | 0 | 0 |  | 0 | 244877.881 | 220132.1561 | 0 | 0 | 0 |  | 0 | 220132.1561 | 162400 | 0 | 0 | 0 | 0 | 162400
Caps |  |  | 224000 | [6 empty] | 224000
Total | 1034300.6349 | 386892 | 223940 | 89199 | 6000 | 706031 | 328269.6349 | 981762.91 | 286712 | 223940 | 89199 | 6000 | 605851 | 375911.91 | 861710.7539 | 194678 | 0 | 64000 | 258678 | 603032.7539
Mid-Rise Multifamily (4-6 Stories) ¦ Mapping Costs & Incentives (Base Case)
Specific measures | Low Income | [6 empty] | Moderate Income | [6 empty] | Market Rate
| Upfront Costs | Optimal Incentive Stack |  |  |  |  | Gap | Upfront Costs | Optimal Incentive Stack |  |  |  |  | Gap | Upfront Costs | Optimal Incentive Stack |  |  |  | Gap
|  | Mass Save | IRA HEEHR | IRA HOME | LISC | Total |  |  | Mass Save | IRA HEEHR | IRA HOME | LISC | Total |  |  | Mass Save | IRA HEEHR | IRA HOME | Total
Soft Costs | 23000 | 7000 | 0 | 0 | 10000 | 13000 | 10000 | 23000 | 0 | 0 | 0 | 6000 | 6000 | 17000 | 23000 | 0 | 0 | 0 | 0 | 23000
Electrification | 478080 | 321180 | 119940 | 0 |  | 441120 | 36960 | 478080 | 261500 | 119940 | 0 |  | 381440 | 96640 | 478080 | 180000 | 0 | 0 | 180000 | 298080
Energy Efficiency | 147910.7539 | 58712 | 0 | 89199 |  | 147911 | -0.24613 | 147910.7539 | 58712 | 0 | 89199 |  | 147911 | -0.24613 | 147910.7539 | 44034 | 0 | 64000 | 108034 | 39876.7539
Electric Readiness | 225280 | 0 | 104000 | 0 |  | 104000 | 121280 | 196016 | 0 | 104000 | 0 |  | 104000 | 92016 | 169696 | 0 | 0 | 0 | 0 | 169696
Health & Safety | 279864.3123 | 0 | 0 | 0 |  | 0 | 279864.3123 | 274077.881 | 0 | 0 | 0 |  | 0 | 274077.881 | 230159.2937 | 0 | 0 | 0 | 0 | 230159.2937
Caps |  |  | 224000 | [6 empty] | 224000
Total | 1154135.0661 | 386892 | 223940 | 89199 | 10000 | 706031 | 448104.0661 | 1119084.6349 | 320212 | 223940 | 89199 | 6000 | 639351 | 479733.6349 | 1048846.0476 | 224034 | 0 | 64000 | 288034 | 760812.0476

## Gap Analysis Results
FUNDING GAP BY INCOME CATEGORY
Funding Gap by Income Category (per unit)
Rounded to nearest $1,000.
Building Typologies | Single Family |  | 2-4 Unit Homes |  | Low-Rise Multifamily (1-3 Floors) |  | Mid-Rise Multifamily (4-6 Floors)
| Low Case | Base Case | Low Case | Base Case | Low Case | Base Case | Low Case | Base Case
Low-Income | 37000 | 41000 | 22000 | 27000 | 21000 | 28000 | 21000 | 28000
Moderate-Income | 48000 | 58000 | 29000 | 35000 | 22000 | 31000 | 23000 | 31000
Market Rate | 59000 | 77000 | 41000 | 54000 | 35000 | 49000 | 38000 | 48000
Funding Gap by Income Category (per bldg)
Rounded to nearest $1,000.
Building Typologies | Single Family |  | 2-4 Unit Homes |  | Low-Rise Multifamily (1-3 Floors) |  | Mid-Rise Multifamily (4-6 Floors)
| Low Case | Base Case | Low Case | Base Case | Low Case | Base Case | Low Case | Base Case
Low-Income | 37000 | 41000 | 65000 | 81000 | 267000 | 364000 | 328000 | 448000
Moderate-Income | 48000 | 58000 | 88000 | 106000 | 290000 | 401000 | 376000 | 492000
Market Rate | 59000 | 77000 | 122000 | 163000 | 461000 | 643000 | 603000 | 761000
FUNDING GAP BY RETROFIT MEASURE TYPE
LOW INCOME HOUSEHOLD (per unit)
Rounded to nearest $1,000.
Low-Income | Single Family |  | 2-4 Unit Homes |  | Low-Rise Multifamily (1-3 Floors) |  | Mid-Rise Multifamily (4-6 Floors)
| Low Case | Base Case | Low Case | Base Case | Low Case | Base Case | Low Case | Base Case
Soft Costs | 2000 | 3000 | 1000 | 2000 | 1000 | 1000 | 1000 | 1000
Electrification | 4000 | 4000 | 4000 | 4000 | 2000 | 2000 | 2000 | 2000
Energy Efficiency | 9000 | 9000 | 2000 | 2000 | 0 | 0 | 0 | 0
Make Ready | 0 | 0 | 0 | 2000 | 2000 | 8000 | 2000 | 8000
Health & Safety | 21000 | 25000 | 15000 | 18000 | 15000 | 17000 | 15000 | 17000
Total | 37000 | 41000 | 22000 | 27000 | 21000 | 28000 | 21000 | 28000
MODERATE INCOME HOUSEHOLD (per unit)
Rounded to nearest $1,000.
Moderate-Income | Single Family |  | 2-4 Unit Homes |  | Low-Rise Multifamily (1-3 Floors) |  | Mid-Rise Multifamily (4-6 Floors)
| Low Case | Base Case | Low Case | Base Case | Low Case | Base Case | Low Case | Base Case
Soft Costs | 2000 | 3000 | 1000 | 2000 | 1000 | 1000 | 1000 | 1000
Electrification | 10000 | 10000 | 6000 | 6000 | 6000 | 6000 | 8000 | 6000
Energy Efficiency | 15000 | 15000 | 6000 | 6000 | 0 | 0 | 0 | 0
Make Ready | 2000 | 4000 | 2000 | 3000 | 1000 | 6000 | 1000 | 6000
Health & Safety | 19000 | 25000 | 14000 | 18000 | 14000 | 17000 | 14000 | 17000
Total | 48000 | 58000 | 29000 | 35000 | 22000 | 31000 | 23000 | 31000
MARKET RATE HOUSEHOLD (per unit)
Rounded to nearest $1,000.
Market Rate | Single Family |  | 2-4 Unit Homes |  | Low-Rise Multifamily (1-3 Floors) |  | Mid-Rise Multifamily (4-6 Floors)
| Low Case | Base Case | Low Case | Base Case | Low Case | Base Case | Low Case | Base Case
Soft Costs | 2000 | 3000 | 1000 | 2000 | 2000 | 2000 | 1000 | 1000
Electrification | 23000 | 23000 | 19000 | 19000 | 16000 | 19000 | 19000 | 19000
Energy Efficiency | 17000 | 17000 | 7000 | 8000 | 4000 | 4000 | 4000 | 2000
Make Ready | 4000 | 15000 | 3000 | 11000 | 3000 | 11000 | 3000 | 11000
Health & Safety | 13000 | 20000 | 10000 | 15000 | 10000 | 14000 | 10000 | 14000
Total | 59000 | 77000 | 41000 | 54000 | 35000 | 49000 | 38000 | 48000

## Net cost analysis (hidden)
*** LOW CASE****Assumes IRA incentives continue****
Category of cost | Single Family Homes |  |  | 2-4 Unit Homes (Triple Deckers) |  |  | Multifamily Buildings (1-3 story) |  |  | Multifamily Buildings (4-6 story)
| Low Income | Moderate Income | Market | Low Income | Moderate Income | Market | Low Income | Moderate Income | Market | Low Income | Moderate Income | Market
# of buildings | 6416.55 | 5499.9 | #REF! | 11968.25 | 6497.05 | #REF! | 852.72 | 448.8 | #REF! | 532 | 452.2 | #REF!
Funding gap per building type | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Total investement cost after incentives | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Total - all (Million) | #REF!
Total - Low income (Million) | #REF!
Total - Moderate Income (Million) | #REF!
Total LMI (Million) | #REF!
With IRA gap | #REF!

## Funding Availability (hidden)
Low Case Analysis of funding availability
Assumptions regarding Boston & Massachussets
% in poverty (Census)
Boston Population (2023) | 693062 | 17.6%
MA Population (2023) | 7174604 | 10.4%
% Boston of MA | 9.66% | 169.2%
IRA Rebate Incentives
| MA allocation | Boston estimate base only on pop % | Bumping up for higher % of low income | Average
HOMES | 73233910 | 7074347.2577 | 11971972.2822 | 9523159.77
HEEHR | 72809130 | 7033313.7907 | 11902531.0304 | 9467922.4106
Total | 146043040 | 14107661.0484 | 23874503.3127 | 18991082.1805
Total (millions) |  | 14.1077 | 23.8745 | 18.9911
Assessment of Mass Saves funding availability
Mass Saves - 2022-2024 participant incentives for electric- statewide
Millions
Residential existing buildings |  | 654.3
Residential - hard to measure |  | 135.2
Residential - income eligible |  | 258.9
Total - electric incentives |  | 1048.4
Mass Saves - 2022-2024 participant incentives for gas - statewide
Millions
Residential existing buildings |  | 115.7
Residential - hard to measure |  | 1.5
Residential - income eligible |  | 48.4
Total -gas incentives |  | 165.6
Total 2022 - 2024 participant incentives through Mass Saves - statewide
3 year cycle |  | 1214 | million
Per year |  | 404.6667 | million | FY 22 WAP funding to ABCD
718000
For Boston |  | 39.0905 | million per year
Including WAP |  | 39.8085 | million per year
Implications for funding gap analysis
How much are we relying on IRA and Mass Saves incentives in funding analysis?
| SFH - Low Income | SFH - Mod Income | SFH - Mkt Rate | Total
# of bldgs in Boston | 6416.55 | 5499.9 | #REF! | #REF! | 30555
IRA Incentives per home | 21999 | #REF! | 4000 |  |  |  | 863.2702
IRA Incentives total | 141157683.45 | #REF! | #REF! | #REF!
Mass Save per home | #VALUE! | #REF! | 15050
Mass Save total | #VALUE! | #REF! | #REF! | #VALUE! |  |  | #VALUE!
| Triple - Low Income | Triple - Mod Income | Triple - Mkt Rate | Total
# of bldgs in Boston | 11968.25 | 6497.05 | #REF! | #REF! | 34195
IRA Incentives per building | 65999 | #REF! | 12000 |  |  |  | 287.748
IRA Incentives total | 789892531.75 | #REF! | #REF! | #REF!
Mass Save per building | #REF! | #REF! | 33900 |  |  |  | #REF!
Mass Save Total | #REF! | #REF! | #REF! | #REF!
| MFB 1-3 - Low Income | MFB 1-3 - Mod Income | MFB 1-3 - Mkt Rate | Total
# of bldgs in Boston | 852.72 | 448.8 | #REF! | #REF! | 2244
IRA Incentives per home | 275388 | #REF! | 52000
IRA Incentives total | 234828855.36 | #REF! | #REF! | #REF!
Mass Save per building | #VALUE! | #VALUE! | #VALUE!
Mass Save total | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| MFB 4-6 Low Income | MFB 4-6 - Mod Income | MFB 4-6 - Mkt Rate | Total
# of bldgs in Boston | 532 | 452.2 | #REF! | #REF! | 2660
IRA Incentives per building | 313139 | 313139 | 64000
IRA Incentives total | 166589948 | 141601455.8 | #REF! | #REF!
Mass Save per building | -91500 | 228000 | 180000
Mass Save total | -48678000 | 103101600 | #REF! | #REF!
Summary of incentives assumed (millions)
| Low Income | Moderate Income | Market Rate | Total
Total IRA Incentives | 1332.469 | #REF! | #REF! | #REF! |  | But Boston will likely not get more than $25M!
Total Mass Save Incentives | #VALUE! | #REF! | #REF! | #VALUE! |  | But Boston currently only receives about $40M annually in participant incentives
Even over 25 years, that only accounts for $1,000 M in funding
|  |  | Total IRA funding for LMI | #REF!
|  |  | Estimated IRA funding for Boston | 18.9911
|  |  | Gap | #REF!